## data
# Mitochondriak Lab - Mitochondriak Advanced - spectral irradiance in mW/m2/nm - measured 29 Oct 2026 - protocol ML-2026-10-ADVANCED
# Spectrometers OHSP-350UVF (600-900 nm measured) and UPRtek CV600 (380-780 nm). Below 600 nm: 0 (no blue or green LEDs). 900-1000 nm: tail of the 850 nm LEDs plus the 940 nm LED band, determined from the spectrum and the TES 1333 solar meter. Citation with attribution permitted. www.mitochondriak.com
wavelength_nm | OHSP350UVF_30cm | OHSP350UVF_50cm | OHSP350UVF_70cm | UPRtekCV600_30cm | UPRtekCV600_50cm | UPRtekCV600_70cm
380 | 0 | 0 | 0 | 0 | 0 | 0
381 | 0 | 0 | 0 | 0 | 0 | 0
382 | 0 | 0 | 0 | 0 | 0 | 0
383 | 0 | 0 | 0 | 0 | 0 | 0
384 | 0 | 0 | 0 | 0 | 0 | 0
385 | 0 | 0 | 0 | 0 | 0 | 0
386 | 0 | 0 | 0 | 0 | 0 | 0
387 | 0 | 0 | 0 | 0 | 0 | 0
388 | 0 | 0 | 0 | 0 | 0 | 0
389 | 0 | 0 | 0 | 0 | 0 | 0
390 | 0 | 0 | 0 | 0 | 0 | 0
391 | 0 | 0 | 0 | 0 | 0 | 0
392 | 0 | 0 | 0 | 0 | 0 | 0
393 | 0 | 0 | 0 | 0 | 0 | 0
394 | 0 | 0 | 0 | 0 | 0 | 0
395 | 0 | 0 | 0 | 0 | 0 | 0
396 | 0 | 0 | 0 | 0 | 0 | 0
397 | 0 | 0 | 0 | 0 | 0 | 0
398 | 0 | 0 | 0 | 0 | 0 | 0
399 | 0 | 0 | 0 | 0 | 0 | 0
400 | 0 | 0 | 0 | 0 | 0 | 0
401 | 0 | 0 | 0 | 0 | 0 | 0
402 | 0 | 0 | 0 | 0 | 0 | 0
403 | 0 | 0 | 0 | 0 | 0 | 0
404 | 0 | 0 | 0 | 0 | 0 | 0
405 | 0 | 0 | 0 | 0 | 0 | 0
406 | 0 | 0 | 0 | 0 | 0 | 0
407 | 0 | 0 | 0 | 0 | 0 | 0
408 | 0 | 0 | 0 | 0 | 0 | 0
409 | 0 | 0 | 0 | 0 | 0 | 0
410 | 0 | 0 | 0 | 0 | 0 | 0
411 | 0 | 0 | 0 | 0 | 0 | 0
412 | 0 | 0 | 0 | 0 | 0 | 0
413 | 0 | 0 | 0 | 0 | 0 | 0
414 | 0 | 0 | 0 | 0 | 0 | 0
415 | 0 | 0 | 0 | 0 | 0 | 0
416 | 0 | 0 | 0 | 0 | 0 | 0
417 | 0 | 0 | 0 | 0 | 0 | 0
418 | 0 | 0 | 0 | 0 | 0 | 0
419 | 0 | 0 | 0 | 0 | 0 | 0
420 | 0 | 0 | 0 | 0 | 0 | 0
421 | 0 | 0 | 0 | 0 | 0 | 0
422 | 0 | 0 | 0 | 0 | 0 | 0
423 | 0 | 0 | 0 | 0 | 0 | 0
424 | 0 | 0 | 0 | 0 | 0 | 0
425 | 0 | 0 | 0 | 0 | 0 | 0
426 | 0 | 0 | 0 | 0 | 0 | 0
427 | 0 | 0 | 0 | 0 | 0 | 0
428 | 0 | 0 | 0 | 0 | 0 | 0
429 | 0 | 0 | 0 | 0 | 0 | 0
430 | 0 | 0 | 0 | 0 | 0 | 0
431 | 0 | 0 | 0 | 0 | 0 | 0
432 | 0 | 0 | 0 | 0 | 0 | 0
433 | 0 | 0 | 0 | 0 | 0 | 0
434 | 0 | 0 | 0 | 0 | 0 | 0
435 | 0 | 0 | 0 | 0 | 0 | 0
436 | 0 | 0 | 0 | 0 | 0 | 0
437 | 0 | 0 | 0 | 0 | 0 | 0
438 | 0 | 0 | 0 | 0 | 0 | 0
439 | 0 | 0 | 0 | 0 | 0 | 0
440 | 0 | 0 | 0 | 0 | 0 | 0
441 | 0 | 0 | 0 | 0 | 0 | 0
442 | 0 | 0 | 0 | 0 | 0 | 0
443 | 0 | 0 | 0 | 0 | 0 | 0
444 | 0 | 0 | 0 | 0 | 0 | 0
445 | 0 | 0 | 0 | 0 | 0 | 0
446 | 0 | 0 | 0 | 0 | 0 | 0
447 | 0 | 0 | 0 | 0 | 0 | 0
448 | 0 | 0 | 0 | 0 | 0 | 0
449 | 0 | 0 | 0 | 0 | 0 | 0
450 | 0 | 0 | 0 | 0 | 0 | 0
451 | 0 | 0 | 0 | 0 | 0 | 0
452 | 0 | 0 | 0 | 0 | 0 | 0
453 | 0 | 0 | 0 | 0 | 0 | 0
454 | 0 | 0 | 0 | 0 | 0 | 0
455 | 0 | 0 | 0 | 0 | 0 | 0
456 | 0 | 0 | 0 | 0 | 0 | 0
457 | 0 | 0 | 0 | 0 | 0 | 0
458 | 0 | 0 | 0 | 0 | 0 | 0
459 | 0 | 0 | 0 | 0 | 0 | 0
460 | 0 | 0 | 0 | 0 | 0 | 0
461 | 0 | 0 | 0 | 0 | 0 | 0
462 | 0 | 0 | 0 | 0 | 0 | 0
463 | 0 | 0 | 0 | 0 | 0 | 0
464 | 0 | 0 | 0 | 0 | 0 | 0
465 | 0 | 0 | 0 | 0 | 0 | 0
466 | 0 | 0 | 0 | 0 | 0 | 0
467 | 0 | 0 | 0 | 0 | 0 | 0
468 | 0 | 0 | 0 | 0 | 0 | 0
469 | 0 | 0 | 0 | 0 | 0 | 0
470 | 0 | 0 | 0 | 0 | 0 | 0
471 | 0 | 0 | 0 | 0 | 0 | 0
472 | 0 | 0 | 0 | 0 | 0 | 0
473 | 0 | 0 | 0 | 0 | 0 | 0
474 | 0 | 0 | 0 | 0 | 0 | 0
475 | 0 | 0 | 0 | 0 | 0 | 0
476 | 0 | 0 | 0 | 0 | 0 | 0
477 | 0 | 0 | 0 | 0 | 0 | 0
478 | 0 | 0 | 0 | 0 | 0 | 0
479 | 0 | 0 | 0 | 0 | 0 | 0
480 | 0 | 0 | 0 | 0 | 0 | 0
481 | 0 | 0 | 0 | 0 | 0 | 0
482 | 0 | 0 | 0 | 0 | 0 | 0
483 | 0 | 0 | 0 | 0 | 0 | 0
484 | 0 | 0 | 0 | 0 | 0 | 0
485 | 0 | 0 | 0 | 0 | 0 | 0
486 | 0 | 0 | 0 | 0 | 0 | 0
487 | 0 | 0 | 0 | 0 | 0 | 0
488 | 0 | 0 | 0 | 0 | 0 | 0
489 | 0 | 0 | 0 | 0 | 0 | 0
490 | 0 | 0 | 0 | 0 | 0 | 0
491 | 0 | 0 | 0 | 0 | 0 | 0
492 | 0 | 0 | 0 | 0 | 0 | 0
493 | 0 | 0 | 0 | 0 | 0 | 0
494 | 0 | 0 | 0 | 0 | 0 | 0
495 | 0 | 0 | 0 | 0 | 0 | 0
496 | 0 | 0 | 0 | 0 | 0 | 0
497 | 0 | 0 | 0 | 0 | 0 | 0
498 | 0 | 0 | 0 | 0 | 0 | 0
499 | 0 | 0 | 0 | 0 | 0 | 0
500 | 0 | 0 | 0 | 0 | 0 | 0
501 | 0 | 0 | 0 | 0 | 0 | 0
502 | 0 | 0 | 0 | 0 | 0 | 0
503 | 0 | 0 | 0 | 0 | 0 | 0
504 | 0 | 0 | 0 | 0 | 0 | 0
505 | 0 | 0 | 0 | 0 | 0 | 0
506 | 0 | 0 | 0 | 0 | 0 | 0
507 | 0 | 0 | 0 | 0 | 0 | 0
508 | 0 | 0 | 0 | 0 | 0 | 0
509 | 0 | 0 | 0 | 0 | 0 | 0
510 | 0 | 0 | 0 | 0 | 0 | 0
511 | 0 | 0 | 0 | 0 | 0 | 0
512 | 0 | 0 | 0 | 0 | 0 | 0
513 | 0 | 0 | 0 | 0 | 0 | 0
514 | 0 | 0 | 0 | 0 | 0 | 0
515 | 0 | 0 | 0 | 0 | 0 | 0
516 | 0 | 0 | 0 | 0 | 0 | 0
517 | 0 | 0 | 0 | 0 | 0 | 0
518 | 0 | 0 | 0 | 0 | 0 | 0
519 | 0 | 0 | 0 | 0 | 0 | 0
520 | 0 | 0 | 0 | 0 | 0 | 0
521 | 0 | 0 | 0 | 0 | 0 | 0
522 | 0 | 0 | 0 | 0 | 0 | 0
523 | 0 | 0 | 0 | 0 | 0 | 0
524 | 0 | 0 | 0 | 0 | 0 | 0
525 | 0 | 0 | 0 | 0 | 0 | 0
526 | 0 | 0 | 0 | 0 | 0 | 0
527 | 0 | 0 | 0 | 0 | 0 | 0
528 | 0 | 0 | 0 | 0 | 0 | 0
529 | 0 | 0 | 0 | 0 | 0 | 0
530 | 0 | 0 | 0 | 0 | 0 | 0
531 | 0 | 0 | 0 | 0 | 0 | 0
532 | 0 | 0 | 0 | 0 | 0 | 0
533 | 0 | 0 | 0 | 0 | 0 | 0
534 | 0 | 0 | 0 | 0 | 0 | 0
535 | 0 | 0 | 0 | 0 | 0 | 0
536 | 0 | 0 | 0 | 0 | 0 | 0
537 | 0 | 0 | 0 | 0 | 0 | 0
538 | 0 | 0 | 0 | 0 | 0 | 0
539 | 0 | 0 | 0 | 0 | 0 | 0
540 | 0 | 0 | 0 | 0 | 0 | 0
541 | 0 | 0 | 0 | 0 | 0 | 0
542 | 0 | 0 | 0 | 0 | 0 | 0
543 | 0 | 0 | 0 | 0 | 0 | 0
544 | 0 | 0 | 0 | 0 | 0 | 0
545 | 0 | 0 | 0 | 0 | 0 | 0
546 | 0 | 0 | 0 | 0 | 0 | 0
547 | 0 | 0 | 0 | 0 | 0 | 0
548 | 0 | 0 | 0 | 0 | 0 | 0
549 | 0 | 0 | 0 | 0 | 0 | 0
550 | 0 | 0 | 0 | 0 | 0 | 0
551 | 0 | 0 | 0 | 0 | 0 | 0
552 | 0 | 0 | 0 | 0 | 0 | 0
553 | 0 | 0 | 0 | 0 | 0 | 0
554 | 0 | 0 | 0 | 0 | 0 | 0
555 | 0 | 0 | 0 | 0 | 0 | 0
556 | 0 | 0 | 0 | 0 | 0 | 0
557 | 0 | 0 | 0 | 0 | 0 | 0
558 | 0 | 0 | 0 | 0 | 0 | 0
559 | 0 | 0 | 0 | 0 | 0 | 0
560 | 0 | 0 | 0 | 0 | 0 | 0
561 | 0 | 0 | 0 | 0 | 0 | 0
562 | 0 | 0 | 0 | 0 | 0 | 0
563 | 0 | 0 | 0 | 0 | 0 | 0
564 | 0 | 0 | 0 | 0 | 0 | 0
565 | 0 | 0 | 0 | 0 | 0 | 0
566 | 0 | 0 | 0 | 0 | 0 | 0
567 | 0 | 0 | 0 | 0 | 0 | 0
568 | 0 | 0 | 0 | 0 | 0 | 0
569 | 0 | 0 | 0 | 0 | 0 | 0
570 | 0 | 0 | 0 | 0 | 0 | 0
571 | 0 | 0 | 0 | 0 | 0 | 0
572 | 0 | 0 | 0 | 0 | 0 | 0
573 | 0 | 0 | 0 | 0 | 0 | 0
574 | 0 | 0 | 0 | 0 | 0 | 0
575 | 0 | 0 | 0 | 0 | 0 | 0
576 | 0 | 0 | 0 | 0 | 0 | 0
577 | 0 | 0 | 0 | 0 | 0 | 0
578 | 0 | 0 | 0 | 0 | 0 | 0
579 | 0 | 0 | 0 | 0 | 0 | 0
580 | 0 | 0 | 0 | 0 | 0 | 0
581 | 0 | 0 | 0 | 0 | 0 | 0
582 | 0 | 0 | 0 | 0 | 0 | 0
583 | 0 | 0 | 0 | 0 | 0 | 0
584 | 0 | 0 | 0 | 0 | 0 | 0
585 | 0 | 0 | 0 | 0 | 0 | 0
586 | 0 | 0 | 0 | 0 | 0 | 0
587 | 0 | 0 | 0 | 0 | 0 | 0
588 | 0 | 0 | 0 | 0 | 0 | 0
589 | 0 | 0 | 0 | 0 | 0 | 0
590 | 0 | 0 | 0 | 0 | 0 | 0
591 | 0 | 0 | 0 | 0 | 0 | 0
592 | 0 | 0 | 0 | 0 | 0 | 0
593 | 0 | 0 | 0 | 0 | 0 | 0
594 | 0 | 0 | 0 | 0 | 0 | 0
595 | 0 | 0 | 0 | 0 | 0 | 0
596 | 0 | 0 | 0 | 0 | 0 | 0
597 | 0 | 0 | 0 | 0 | 0 | 0
598 | 0 | 0 | 0 | 0 | 0 | 0
599 | 0 | 0 | 0 | 0 | 0 | 0
600 | 172.592 | 246.768 | 196.648 | 448.192 | 331.847 | 296.614
601 | 191.742 | 276.151 | 220.242 | 498.993 | 367.687 | 329.919
602 | 213.425 | 309.355 | 246.657 | 555.475 | 407.619 | 366.935
603 | 235.466 | 342.261 | 273.288 | 618.281 | 452.415 | 407.348
604 | 264.297 | 383.693 | 306.53 | 688.114 | 502.815 | 451.5
605 | 297.834 | 429.871 | 343.853 | 766.229 | 559.937 | 500.692
606 | 331.759 | 475.919 | 381.363 | 850.991 | 622.281 | 554.245
607 | 374.262 | 533.424 | 428.101 | 947.564 | 692.562 | 615.146
608 | 423.481 | 597.087 | 480.284 | 1052.11 | 767.62 | 680.829
609 | 473.462 | 660.866 | 532.343 | 1173.89 | 854.851 | 758.277
610 | 538.043 | 740.892 | 597.865 | 1306.36 | 950.384 | 843.597
611 | 610.227 | 830.572 | 671.124 | 1457.72 | 1060.04 | 941.604
612 | 691.345 | 930.652 | 753.166 | 1619.55 | 1177.14 | 1045.8
613 | 780.766 | 1041.42 | 843.774 | 1800.08 | 1307.39 | 1161.2
614 | 870.746 | 1152.13 | 934.302 | 1995.63 | 1448.14 | 1285.75
615 | 981.66 | 1289.76 | 1047.31 | 2210.22 | 1602.77 | 1422.75
616 | 1104.8 | 1443.49 | 1172.78 | 2441.1 | 1769.99 | 1571.29
617 | 1226.13 | 1594.49 | 1295.83 | 2688.2 | 1949.81 | 1731.53
618 | 1373.93 | 1780.48 | 1447.94 | 2953.31 | 2142.97 | 1904.16
619 | 1533.97 | 1984.49 | 1614.78 | 3232.36 | 2346.24 | 2086.58
620 | 1690.1 | 2183.68 | 1777.62 | 3526.77 | 2561.33 | 2281.65
621 | 1878.8 | 2424.19 | 1975.13 | 3827.84 | 2782.89 | 2483.92
622 | 2082.17 | 2682.21 | 2187.79 | 4125.04 | 3011.1 | 2688.61
623 | 2279.29 | 2929.05 | 2392.46 | 4412.48 | 3241.11 | 2889.9
624 | 2512.64 | 3223.83 | 2638.39 | 4645.68 | 3460.69 | 3082.66
625 | 2758.88 | 3535.09 | 2897.9 | 4832.17 | 3667.88 | 3269.8
626 | 2980.37 | 3820.53 | 3137.4 | 4939.23 | 3836.5 | 3428.91
627 | 3217.01 | 4135.51 | 3404.85 | 5006.77 | 3974.17 | 3561.68
628 | 3428.11 | 4431.02 | 3659.94 | 5027.77 | 4051.89 | 3640.61
629 | 3573.01 | 4654.09 | 3861.17 | 5032.13 | 4085.68 | 3678.55
630 | 3673.63 | 4825.54 | 4022.32 | 4971.57 | 4052.13 | 3653.34
631 | 3699.26 | 4906.58 | 4111.3 | 4823.78 | 3964.72 | 3577.88
632 | 3650.01 | 4880.59 | 4109.24 | 4571.52 | 3816.28 | 3446.32
633 | 3523.71 | 4746.73 | 4015.8 | 4251.36 | 3619.82 | 3271.42
634 | 3337.74 | 4512.74 | 3837.45 | 3892.46 | 3386.63 | 3061.26
635 | 3149.2 | 4243.18 | 3620.57 | 3513.11 | 3128.34 | 2822.91
636 | 2928.36 | 3902.96 | 3340.2 | 3138.21 | 2862.3 | 2572.01
637 | 2719.1 | 3557.33 | 3051.49 | 2782.84 | 2597.49 | 2319.57
638 | 2555.94 | 3266.64 | 2806.76 | 2458.53 | 2346.19 | 2079.99
639 | 2401.66 | 2966.95 | 2552.97 | 2182.86 | 2123.07 | 1866.61
640 | 2277 | 2701.92 | 2327.85 | 1948.63 | 1929.53 | 1680.02
641 | 2192.71 | 2495.95 | 2153.73 | 1771.05 | 1781.51 | 1533.22
642 | 2125.18 | 2294.53 | 1984.55 | 1628.23 | 1664.87 | 1413.3
643 | 2083.82 | 2122.39 | 1840.61 | 1534.89 | 1592.72 | 1333.41
644 | 2070.37 | 1994.66 | 1734.11 | 1467.36 | 1543.9 | 1275.62
645 | 2076.54 | 1875.94 | 1635.59 | 1438.54 | 1532.7 | 1251.37
646 | 2107.26 | 1781.76 | 1558.19 | 1427.64 | 1540.48 | 1242.87
647 | 2155.14 | 1720.12 | 1508.6 | 1450.03 | 1580.68 | 1261.7
648 | 2236.17 | 1673.32 | 1473.17 | 1489.47 | 1636.02 | 1293.55
649 | 2344.25 | 1649.71 | 1456.97 | 1554.89 | 1719.46 | 1347.56
650 | 2465.98 | 1647.66 | 1459.99 | 1629.86 | 1816.54 | 1411.23
651 | 2631.79 | 1667.36 | 1482.3 | 1726.1 | 1936.62 | 1494.17
652 | 2824.39 | 1707.27 | 1522.97 | 1835.24 | 2067.16 | 1587.71
653 | 3022.25 | 1762.49 | 1576.19 | 1965 | 2218.27 | 1699.48
654 | 3267.16 | 1842.19 | 1651.73 | 2104.62 | 2381.88 | 1820.85
655 | 3536.25 | 1940.3 | 1742.97 | 2260.01 | 2564.45 | 1956.63
656 | 3800.28 | 2042.62 | 1837.28 | 2424.27 | 2756.62 | 2099.81
657 | 4118.51 | 2172.44 | 1956.94 | 2604.53 | 2964.19 | 2255.15
658 | 4466.37 | 2317.27 | 2090.55 | 2795.55 | 3181.32 | 2418.2
659 | 4798.7 | 2459.52 | 2220.64 | 2998.6 | 3412.75 | 2591.69
660 | 5154.1 | 2614.31 | 2363.34 | 3206.08 | 3652.69 | 2770.72
661 | 5571.83 | 2801.72 | 2535.06 | 3415.8 | 3899.57 | 2955.13
662 | 6018.47 | 3003.63 | 2720.43 | 3625.25 | 4147.5 | 3141.52
663 | 6450.4 | 3201.24 | 2899.77 | 3825.61 | 4386.64 | 3323.82
664 | 6955.35 | 3435.99 | 3111.45 | 4015.48 | 4615.16 | 3499.77
665 | 7490.93 | 3684.31 | 3335.86 | 4174.83 | 4815.22 | 3655.81
666 | 7974.92 | 3913.82 | 3542.53 | 4307.14 | 4991.06 | 3794.03
667 | 8506.68 | 4165.38 | 3771.11 | 4381.69 | 5107.07 | 3890.85
668 | 8995.61 | 4401.62 | 3983.41 | 4411.22 | 5172.57 | 3953.97
669 | 9345.43 | 4577.3 | 4139.37 | 4365.13 | 5156.36 | 3956.66
670 | 9606.06 | 4714.4 | 4258.86 | 4268.86 | 5088.8 | 3917.64
671 | 9707.26 | 4785.47 | 4313.1 | 4098.64 | 4936.92 | 3811.44
672 | 9631.93 | 4771.1 | 4291.16 | 3884.37 | 4728.87 | 3662.51
673 | 9360.32 | 4665.23 | 4185.83 | 3612.21 | 4442.15 | 3452.47
674 | 8907.75 | 4468.81 | 4003.71 | 3310.43 | 4114.13 | 3208.98
675 | 8399.82 | 4235.81 | 3793.05 | 2980.2 | 3743.19 | 2929.12
676 | 7823.53 | 3964.9 | 3549.59 | 2642.27 | 3358.24 | 2636.58
677 | 7138.64 | 3639.47 | 3256.95 | 2313.58 | 2970.74 | 2340.55
678 | 6459.1 | 3309.84 | 2959.83 | 1999.21 | 2590 | 2049.74
679 | 5882.34 | 3027.13 | 2705.07 | 1719.82 | 2238.95 | 1779.55
680 | 5274.82 | 2724.64 | 2433.69 | 1462.44 | 1911.62 | 1525.22
681 | 4707.42 | 2440.2 | 2179.72 | 1245.37 | 1631.38 | 1304.31
682 | 4243.4 | 2206.83 | 1972.3 | 1050.07 | 1378.47 | 1104.05
683 | 3765.57 | 1965.28 | 1756.59 | 889.171 | 1170.08 | 938.068
684 | 3324.26 | 1744.38 | 1558.73 | 745.916 | 985.078 | 790.659
685 | 2969.64 | 1566.79 | 1398.97 | 629.351 | 833.655 | 670.19
686 | 2610.49 | 1384.22 | 1235.28 | 528.069 | 700.272 | 564.276
687 | 2288.11 | 1218.55 | 1088.46 | 446.814 | 591.378 | 477.634
688 | 2033.67 | 1086.32 | 969.729 | 377.16 | 497.614 | 402.447
689 | 1803.83 | 966.772 | 861.846 | 321.577 | 422.406 | 341.339
690 | 1573.83 | 847.114 | 753.343 | 274.819 | 358.912 | 289.647
691 | 1372.04 | 741.469 | 657.327 | 237.129 | 307.275 | 248.194
692 | 1213.39 | 659.177 | 583.811 | 205.547 | 263.86 | 213.702
693 | 1055.44 | 578.359 | 511.696 | 180.103 | 229.174 | 185.553
694 | 917.337 | 508.106 | 448.595 | 159.684 | 201.527 | 162.454
695 | 812.833 | 454.408 | 400.261 | 143.441 | 179.185 | 144.068
696 | 712.098 | 402.181 | 353.817 | 130.724 | 160.598 | 129.386
697 | 627.715 | 357.064 | 314.412 | 120.587 | 144.741 | 116.775
698 | 565.826 | 323.015 | 284.815 | 112.689 | 132.063 | 106.034
699 | 512.551 | 294.212 | 259.591 | 106.025 | 121.7 | 96.831
700 | 461.354 | 266.904 | 235.427 | 100.895 | 114.34 | 90.255
701 | 416.419 | 243.625 | 215.297 | 96.786 | 108.611 | 85.395
702 | 382.624 | 226.545 | 200.212 | 94.3 | 104.394 | 82.76
703 | 351.181 | 210.232 | 185.461 | 92.82 | 100.637 | 80.994
704 | 323.924 | 196.726 | 173.642 | 92.972 | 97.854 | 79.843
705 | 302.392 | 187.006 | 164.998 | 94.149 | 96.345 | 78.767
706 | 281.956 | 177.307 | 156.742 | 96.48 | 97.06 | 78.232
707 | 264.739 | 169.484 | 149.539 | 99.611 | 99.282 | 78.734
708 | 253.313 | 163.978 | 143.942 | 103.836 | 102.38 | 80.506
709 | 244.818 | 159.783 | 139.958 | 108.837 | 105.25 | 83.123
710 | 236.532 | 156.416 | 137.023 | 114.226 | 107.982 | 86.215
711 | 229.221 | 154.313 | 135.425 | 120.513 | 112.126 | 90.139
712 | 223.175 | 153.314 | 134.894 | 128.006 | 118.126 | 95.117
713 | 217.181 | 153.315 | 134.576 | 137.119 | 126.34 | 101.02
714 | 213.571 | 154.394 | 135.068 | 146.989 | 135.399 | 107.131
715 | 211.502 | 155.888 | 135.855 | 157.742 | 145.234 | 114.041
716 | 210.816 | 157.807 | 137.442 | 169.359 | 155.545 | 121.999
717 | 211.096 | 160.46 | 139.997 | 182.773 | 166.399 | 131.275
718 | 212.686 | 164.049 | 143.576 | 197.753 | 177.73 | 141.341
719 | 215.913 | 168.396 | 147.362 | 214.123 | 189.833 | 152.42
720 | 220.76 | 174.442 | 152.622 | 231.177 | 203.548 | 163.961
721 | 226.592 | 181.653 | 158.891 | 248.904 | 219.118 | 175.553
722 | 231.967 | 188.707 | 165.032 | 268.881 | 236.947 | 188.245
723 | 238.619 | 196.928 | 172.149 | 291.212 | 256.233 | 202.537
724 | 247.123 | 207.39 | 180.811 | 317.173 | 277.126 | 219.403
725 | 257.161 | 218.736 | 190.422 | 345.034 | 299.481 | 237.519
726 | 267.391 | 229.643 | 200.419 | 374.569 | 324.947 | 256.83
727 | 278.978 | 243.068 | 212.295 | 405.479 | 352.879 | 277.263
728 | 292.276 | 258.56 | 225.292 | 439.031 | 382.713 | 299.653
729 | 306.152 | 274.187 | 238.354 | 476.31 | 413.827 | 324.761
730 | 322.087 | 291.491 | 253.063 | 516.751 | 446.739 | 352.262
731 | 341.719 | 312.427 | 271.642 | 560.426 | 482.468 | 381.49
732 | 363.741 | 334.924 | 291.683 | 606.521 | 520.368 | 411.834
733 | 384.832 | 357.206 | 311.314 | 656.281 | 562.569 | 445.06
734 | 411.211 | 384.417 | 334.767 | 709.721 | 608.893 | 481.205
735 | 441.013 | 414.671 | 361.631 | 768.657 | 660.204 | 520.332
736 | 470.02 | 444.599 | 388.078 | 834.229 | 715.135 | 562.89
737 | 502.624 | 477.492 | 417.242 | 906.771 | 773.579 | 610.166
738 | 540.839 | 518.47 | 452.811 | 984.215 | 836.817 | 661.652
739 | 581.733 | 563.065 | 491.369 | 1063.96 | 904.067 | 714.893
740 | 621.787 | 606.757 | 528.709 | 1146.33 | 975.639 | 769.704
741 | 673.035 | 658.509 | 574.695 | 1233.29 | 1050.93 | 827.641
742 | 731.197 | 714.986 | 624.425 | 1327.62 | 1132.48 | 890.683
743 | 788.007 | 769.479 | 672.88 | 1429.24 | 1220.11 | 959.199
744 | 846.931 | 828.75 | 725.617 | 1536.95 | 1312.16 | 1032.51
745 | 916.883 | 900.595 | 787.964 | 1651.07 | 1410.56 | 1110
746 | 991.734 | 977.005 | 855.099 | 1769.5 | 1514.92 | 1190.32
747 | 1065.12 | 1048.12 | 918.232 | 1890.54 | 1625.76 | 1273.77
748 | 1144.17 | 1122.45 | 984.656 | 2012.84 | 1738.16 | 1359.01
749 | 1237.28 | 1210.89 | 1063.04 | 2138.34 | 1851.64 | 1445.81
750 | 1334.01 | 1304.31 | 1145.42 | 2268.96 | 1967.49 | 1534.31
751 | 1420.93 | 1390.06 | 1220.68 | 2402.97 | 2086.44 | 1624.98
752 | 1522.87 | 1490.61 | 1309.06 | 2539.21 | 2210.69 | 1720.52
753 | 1630.35 | 1592.58 | 1398.91 | 2676.14 | 2338.69 | 1818.91
754 | 1730.45 | 1688.69 | 1483.68 | 2812.94 | 2470.44 | 1918.55
755 | 1836.77 | 1787.81 | 1570.12 | 2945.65 | 2602.36 | 2015.7
756 | 1958.79 | 1903.64 | 1672.43 | 3072.87 | 2732.94 | 2110.65
757 | 2084.08 | 2022.52 | 1778.35 | 3186.68 | 2856.42 | 2202.57
758 | 2197.36 | 2130.85 | 1875.31 | 3283.44 | 2972.36 | 2288.47
759 | 2309.6 | 2239.33 | 1972.96 | 3355.08 | 3079.04 | 2363.28
760 | 2428.56 | 2358.47 | 2077.71 | 3396.74 | 3170.95 | 2422.24
761 | 2540.82 | 2473.48 | 2176.44 | 3409.01 | 3244.89 | 2465.73
762 | 2628.01 | 2567.09 | 2255.45 | 3383.26 | 3288.57 | 2486.28
763 | 2699.43 | 2651.17 | 2323.3 | 3324 | 3304.28 | 2483.5
764 | 2753.94 | 2725.26 | 2379.68 | 3226.18 | 3286.34 | 2451.86
765 | 2777.16 | 2779.22 | 2414.09 | 3096.35 | 3234.3 | 2394.55
766 | 2775.22 | 2806.14 | 2426.3 | 2938.69 | 3149.53 | 2313.95
767 | 2753.64 | 2819.91 | 2427.22 | 2756.94 | 3027.13 | 2208.15
768 | 2705.9 | 2811.4 | 2407.46 | 2564.28 | 2878.03 | 2084.49
769 | 2640.16 | 2780.2 | 2368.49 | 2366.39 | 2704.96 | 1945.16
770 | 2547.45 | 2721.27 | 2305.33 | 2174.67 | 2520.52 | 1800.32
771 | 2415.95 | 2618.84 | 2205.19 | 1991.13 | 2329.35 | 1653.59
772 | 2269.84 | 2492.66 | 2091.29 | 1822.12 | 2137.32 | 1510.63
773 | 2136.06 | 2368.89 | 1982.8 | 1671.55 | 1954.07 | 1376.67
774 | 2003.33 | 2240.94 | 1873.2 | 1540.9 | 1783.33 | 1253.35
775 | 1859.52 | 2098.17 | 1752.27 | 1434.61 | 1632.86 | 1145.29
776 | 1721.17 | 1956.62 | 1634.34 | 1349.74 | 1501.48 | 1051.91
777 | 1605.29 | 1837.38 | 1536.07 | 1302.73 | 1422.11 | 996.278
778 | 1501.19 | 1726.14 | 1445.56 | 1281.63 | 1385.19 | 970.43
779 | 1396.33 | 1611.65 | 1352.61 | 1281.63 | 1385.19 | 970.43
780 | 1306.81 | 1511.19 | 1269.84 | 1281.63 | 1385.19 | 970.43
781 | 1233.93 | 1429.91 | 1203.96
782 | 1169.72 | 1357.42 | 1145.58
783 | 1108.48 | 1287 | 1090.47
784 | 1057.29 | 1228.01 | 1045.77
785 | 1022.42 | 1186.61 | 1015.36
786 | 993.474 | 1152.98 | 991.967
787 | 971.361 | 1125.2 | 973.924
788 | 957.803 | 1108.32 | 965.732
789 | 954.846 | 1103.56 | 967.157
790 | 957.741 | 1106.07 | 974.014
791 | 966.552 | 1114.86 | 986.55
792 | 979.174 | 1130.31 | 1002.83
793 | 994.187 | 1151.63 | 1024.08
794 | 1012.85 | 1177.58 | 1050.63
795 | 1041.85 | 1214.63 | 1087.43
796 | 1077.55 | 1256.61 | 1128.73
797 | 1112.6 | 1298.22 | 1167.43
798 | 1150.63 | 1345.96 | 1209.5
799 | 1195.83 | 1399.44 | 1257.79
800 | 1241.77 | 1454.67 | 1306.87
801 | 1288.22 | 1505.3 | 1353.79
802 | 1334.69 | 1559.93 | 1404.13
803 | 1395.12 | 1626.61 | 1463.51
804 | 1465.38 | 1700.78 | 1529.94
805 | 1527.36 | 1769.25 | 1587.87
806 | 1590.9 | 1841.32 | 1651.03
807 | 1658.33 | 1926.38 | 1725.28
808 | 1728.57 | 2014.47 | 1802.81
809 | 1800.8 | 2095.85 | 1875.59
810 | 1873.01 | 2178.44 | 1948.84
811 | 1951.45 | 2265.46 | 2026.29
812 | 2024.52 | 2350.41 | 2099.15
813 | 2081.26 | 2419.19 | 2154.8
814 | 2134.36 | 2480.29 | 2201.69
815 | 2183.63 | 2537.47 | 2243.95
816 | 2222.73 | 2581.24 | 2272.94
817 | 2252.2 | 2614.36 | 2291.16
818 | 2275.22 | 2639.97 | 2298.39
819 | 2295.14 | 2657.07 | 2294.58
820 | 2309.9 | 2660.09 | 2279.62
821 | 2323.17 | 2651.64 | 2254.57
822 | 2344.63 | 2644.02 | 2231.99
823 | 2369.97 | 2638.57 | 2208.31
824 | 2402.31 | 2634.78 | 2184.59
825 | 2440.13 | 2637.83 | 2167.57
826 | 2474.79 | 2641.97 | 2152.99
827 | 2511.61 | 2649.76 | 2144.06
828 | 2559.23 | 2667.27 | 2141.23
829 | 2604.43 | 2683.97 | 2139.59
830 | 2645.86 | 2701.12 | 2137.86
831 | 2685.26 | 2720.15 | 2133.94
832 | 2724.76 | 2739.54 | 2127.8
833 | 2757.03 | 2751.15 | 2118.63
834 | 2773.33 | 2747.15 | 2105.13
835 | 2773.12 | 2734.25 | 2083.67
836 | 2762.14 | 2710.18 | 2055.28
837 | 2738.89 | 2675.93 | 2019.18
838 | 2705.98 | 2632.42 | 1978.63
839 | 2670.95 | 2574.79 | 1935.72
840 | 2627.26 | 2512.07 | 1889.93
841 | 2575.06 | 2430.07 | 1836.99
842 | 2527.27 | 2351.27 | 1786.71
843 | 2484.1 | 2287.41 | 1741.26
844 | 2452.8 | 2225.52 | 1698.73
845 | 2422.63 | 2156.77 | 1652.92
846 | 2400.82 | 2088.07 | 1613.85
847 | 2384.17 | 2032.86 | 1587.95
848 | 2374.71 | 1990.01 | 1567.94
849 | 2365.83 | 1950.91 | 1553.27
850 | 2362.92 | 1915.62 | 1539.41
851 | 2365.53 | 1885.71 | 1528.51
852 | 2371.86 | 1863.88 | 1521.14
853 | 2384.08 | 1846.59 | 1516.16
854 | 2399.71 | 1831.88 | 1517
855 | 2409.26 | 1822.32 | 1520.12
856 | 2412.07 | 1816.47 | 1524.24
857 | 2407.68 | 1812.12 | 1526.1
858 | 2396.7 | 1802.96 | 1521.77
859 | 2380.47 | 1785.14 | 1510.12
860 | 2350.04 | 1764.75 | 1494.53
861 | 2308.4 | 1733.05 | 1472.67
862 | 2260.99 | 1699.2 | 1447.72
863 | 2179.12 | 1648.23 | 1407.39
864 | 2095.24 | 1588.84 | 1358.76
865 | 2002.05 | 1529.05 | 1306.73
866 | 1911.6 | 1463.65 | 1252.38
867 | 1827.28 | 1397.73 | 1196.52
868 | 1727.94 | 1323.34 | 1134.71
869 | 1636.65 | 1251.16 | 1075.62
870 | 1540.33 | 1184.74 | 1022.5
871 | 1451.33 | 1119.09 | 969.63
872 | 1366.35 | 1056.36 | 918.082
873 | 1273.77 | 990.467 | 856.131
874 | 1198.53 | 927.688 | 798.427
875 | 1127.04 | 873.357 | 745.847
876 | 1063.31 | 822.532 | 699.609
877 | 1000.83 | 768.907 | 654.447
878 | 942.003 | 723.365 | 616.175
879 | 899.062 | 687.881 | 589.725
880 | 859.411 | 655.852 | 565.387
881 | 821.772 | 625.88 | 540.636
882 | 783.35 | 594.57 | 515.741
883 | 744.76 | 566.917 | 489.034
884 | 713.114 | 547.971 | 471.484
885 | 688.813 | 530.689 | 453.466
886 | 671.031 | 516.608 | 438.232
887 | 658.442 | 499.23 | 422.219
888 | 641.393 | 484.267 | 410.372
889 | 626.714 | 474.352 | 403.238
890 | 606.655 | 464.859 | 398.585
891 | 592.385 | 459.733 | 394.508
892 | 581.68 | 453.219 | 389.721
893 | 572.6 | 446.598 | 385.954
894 | 569.715 | 440.761 | 383.466
895 | 567.444 | 436.438 | 383.062
896 | 566.64 | 436.746 | 382.544
897 | 566.826 | 440.599 | 381.909
898 | 568.979 | 446.626 | 382.535
899 | 570.511 | 452.204 | 383.824
900 | 573.642 | 456.356 | 385.168
901 | 590.292 | 471.974 | 398.947
902 | 574.296 | 460.21 | 389.263
903 | 562.684 | 451.999 | 382.593
904 | 555.912 | 447.728 | 379.272
905 | 554.511 | 447.847 | 379.684
906 | 559.079 | 452.862 | 384.266
907 | 570.285 | 463.337 | 393.5
908 | 588.858 | 479.887 | 407.915
909 | 615.583 | 503.173 | 428.077
910 | 651.29 | 533.892 | 454.584
911 | 696.833 | 572.762 | 488.052
912 | 753.077 | 620.509 | 529.104
913 | 820.869 | 677.846 | 578.349
914 | 901.014 | 745.447 | 636.367
915 | 994.24 | 823.926 | 703.682
916 | 1101.17 | 913.802 | 780.742
917 | 1222.27 | 1015.48 | 867.888
918 | 1357.84 | 1129.19 | 965.331
919 | 1507.95 | 1255.01 | 1073.12
920 | 1672.4 | 1392.77 | 1191.13
921 | 1850.72 | 1542.09 | 1319.02
922 | 2042.11 | 1702.29 | 1456.22
923 | 2245.44 | 1872.44 | 1601.92
924 | 2459.22 | 2051.29 | 1755.06
925 | 2681.62 | 2237.31 | 1914.34
926 | 2910.45 | 2428.68 | 2078.18
927 | 3143.2 | 2623.31 | 2244.82
928 | 3377.09 | 2818.86 | 2412.24
929 | 3609.07 | 3012.81 | 2578.28
930 | 3835.93 | 3202.45 | 2740.63
931 | 4054.3 | 3385 | 2896.91
932 | 4260.82 | 3557.63 | 3044.69
933 | 4452.12 | 3717.54 | 3181.59
934 | 4624.99 | 3862.05 | 3305.29
935 | 4776.41 | 3988.63 | 3413.66
936 | 4903.68 | 4095.03 | 3504.74
937 | 5004.45 | 4179.28 | 3576.88
938 | 5076.82 | 4239.81 | 3628.7
939 | 5119.38 | 4275.44 | 3659.21
940 | 5131.28 | 4285.45 | 3667.8
941 | 5112.21 | 4269.59 | 3654.24
942 | 5062.46 | 4228.1 | 3618.74
943 | 4982.86 | 4161.67 | 3561.9
944 | 4874.8 | 4071.47 | 3484.71
945 | 4740.15 | 3959.06 | 3388.51
946 | 4581.25 | 3826.38 | 3274.96
947 | 4400.77 | 3675.68 | 3145.99
948 | 4201.71 | 3509.46 | 3003.73
949 | 3987.26 | 3330.39 | 2850.48
950 | 3760.76 | 3141.24 | 2688.6
951 | 3525.57 | 2944.83 | 2520.5
952 | 3285 | 2743.93 | 2348.56
953 | 3042.26 | 2541.21 | 2175.07
954 | 2800.35 | 2339.19 | 2002.17
955 | 2562.06 | 2140.19 | 1831.84
956 | 2329.85 | 1946.26 | 1665.87
957 | 2105.88 | 1759.21 | 1505.78
958 | 1891.96 | 1580.55 | 1352.88
959 | 1689.54 | 1411.5 | 1208.19
960 | 1499.73 | 1252.97 | 1072.51
961 | 1323.28 | 1105.61 | 946.383
962 | 1160.64 | 969.773 | 830.127
963 | 1011.96 | 845.6 | 723.85
964 | 877.142 | 732.998 | 627.477
965 | 755.847 | 631.691 | 540.77
966 | 647.561 | 541.249 | 463.362
967 | 551.622 | 461.118 | 394.778
968 | 467.254 | 390.649 | 334.464
969 | 393.605 | 329.133 | 281.812
970 | 329.776 | 275.817 | 236.179
971 | 274.85 | 229.937 | 196.909
972 | 227.917 | 190.732 | 163.352
973 | 188.089 | 157.46 | 134.874
974 | 154.518 | 129.415 | 110.868
975 | 126.411 | 105.932 | 90.767
976 | 103.03 | 86.396 | 74.044
977 | 83.705 | 70.248 | 60.221
978 | 67.831 | 56.982 | 48.864
979 | 54.87 | 46.148 | 39.59
980 | 44.348 | 37.352 | 32.059
981 | 35.853 | 30.248 | 25.976
982 | 29.029 | 24.54 | 21.088
983 | 23.573 | 19.975 | 17.179
984 | 19.229 | 16.338 | 14.064
985 | 15.782 | 13.451 | 11.591
986 | 13.055 | 11.165 | 9.632
987 | 10.9 | 9.358 | 8.082
988 | 9.199 | 7.929 | 6.857
989 | 7.854 | 6.798 | 5.887
990 | 6.789 | 5.9 | 5.116
991 | 5.94 | 5.184 | 4.501
992 | 5.261 | 4.609 | 4.007
993 | 4.711 | 4.143 | 3.606
994 | 4.262 | 3.761 | 3.277
995 | 3.891 | 3.444 | 3.003
996 | 3.579 | 3.177 | 2.773
997 | 3.313 | 2.948 | 2.576
998 | 3.084 | 2.75 | 2.404
999 | 2.882 | 2.575 | 2.253
1000 | 2.702 | 2.42 | 2.118