## data
# Mitochondriak Lab - Mitochondriak Maxi - spectral irradiance in mW/m2/nm - measured 29 Oct 2026 - protocol ML-2026-10-MAXI
# Spectrometers OHSP-350UVF (600-900 nm measured) and UPRtek CV600 (380-780 nm). Below 600 nm: 0 (no blue or green LEDs). 900-1000 nm: tail of the 850 nm LEDs plus the 940 nm LED band, determined from the spectrum and the TES 1333 solar meter. Citation with attribution permitted. www.mitochondriak.com
wavelength_nm | OHSP350UVF_30cm | OHSP350UVF_50cm | OHSP350UVF_70cm | UPRtekCV600_30cm | UPRtekCV600_50cm | UPRtekCV600_70cm
380 | 0 | 0 | 0 | 0 | 0 | 0
381 | 0 | 0 | 0 | 0 | 0 | 0
382 | 0 | 0 | 0 | 0 | 0 | 0
383 | 0 | 0 | 0 | 0 | 0 | 0
384 | 0 | 0 | 0 | 0 | 0 | 0
385 | 0 | 0 | 0 | 0 | 0 | 0
386 | 0 | 0 | 0 | 0 | 0 | 0
387 | 0 | 0 | 0 | 0 | 0 | 0
388 | 0 | 0 | 0 | 0 | 0 | 0
389 | 0 | 0 | 0 | 0 | 0 | 0
390 | 0 | 0 | 0 | 0 | 0 | 0
391 | 0 | 0 | 0 | 0 | 0 | 0
392 | 0 | 0 | 0 | 0 | 0 | 0
393 | 0 | 0 | 0 | 0 | 0 | 0
394 | 0 | 0 | 0 | 0 | 0 | 0
395 | 0 | 0 | 0 | 0 | 0 | 0
396 | 0 | 0 | 0 | 0 | 0 | 0
397 | 0 | 0 | 0 | 0 | 0 | 0
398 | 0 | 0 | 0 | 0 | 0 | 0
399 | 0 | 0 | 0 | 0 | 0 | 0
400 | 0 | 0 | 0 | 0 | 0 | 0
401 | 0 | 0 | 0 | 0 | 0 | 0
402 | 0 | 0 | 0 | 0 | 0 | 0
403 | 0 | 0 | 0 | 0 | 0 | 0
404 | 0 | 0 | 0 | 0 | 0 | 0
405 | 0 | 0 | 0 | 0 | 0 | 0
406 | 0 | 0 | 0 | 0 | 0 | 0
407 | 0 | 0 | 0 | 0 | 0 | 0
408 | 0 | 0 | 0 | 0 | 0 | 0
409 | 0 | 0 | 0 | 0 | 0 | 0
410 | 0 | 0 | 0 | 0 | 0 | 0
411 | 0 | 0 | 0 | 0 | 0 | 0
412 | 0 | 0 | 0 | 0 | 0 | 0
413 | 0 | 0 | 0 | 0 | 0 | 0
414 | 0 | 0 | 0 | 0 | 0 | 0
415 | 0 | 0 | 0 | 0 | 0 | 0
416 | 0 | 0 | 0 | 0 | 0 | 0
417 | 0 | 0 | 0 | 0 | 0 | 0
418 | 0 | 0 | 0 | 0 | 0 | 0
419 | 0 | 0 | 0 | 0 | 0 | 0
420 | 0 | 0 | 0 | 0 | 0 | 0
421 | 0 | 0 | 0 | 0 | 0 | 0
422 | 0 | 0 | 0 | 0 | 0 | 0
423 | 0 | 0 | 0 | 0 | 0 | 0
424 | 0 | 0 | 0 | 0 | 0 | 0
425 | 0 | 0 | 0 | 0 | 0 | 0
426 | 0 | 0 | 0 | 0 | 0 | 0
427 | 0 | 0 | 0 | 0 | 0 | 0
428 | 0 | 0 | 0 | 0 | 0 | 0
429 | 0 | 0 | 0 | 0 | 0 | 0
430 | 0 | 0 | 0 | 0 | 0 | 0
431 | 0 | 0 | 0 | 0 | 0 | 0
432 | 0 | 0 | 0 | 0 | 0 | 0
433 | 0 | 0 | 0 | 0 | 0 | 0
434 | 0 | 0 | 0 | 0 | 0 | 0
435 | 0 | 0 | 0 | 0 | 0 | 0
436 | 0 | 0 | 0 | 0 | 0 | 0
437 | 0 | 0 | 0 | 0 | 0 | 0
438 | 0 | 0 | 0 | 0 | 0 | 0
439 | 0 | 0 | 0 | 0 | 0 | 0
440 | 0 | 0 | 0 | 0 | 0 | 0
441 | 0 | 0 | 0 | 0 | 0 | 0
442 | 0 | 0 | 0 | 0 | 0 | 0
443 | 0 | 0 | 0 | 0 | 0 | 0
444 | 0 | 0 | 0 | 0 | 0 | 0
445 | 0 | 0 | 0 | 0 | 0 | 0
446 | 0 | 0 | 0 | 0 | 0 | 0
447 | 0 | 0 | 0 | 0 | 0 | 0
448 | 0 | 0 | 0 | 0 | 0 | 0
449 | 0 | 0 | 0 | 0 | 0 | 0
450 | 0 | 0 | 0 | 0 | 0 | 0
451 | 0 | 0 | 0 | 0 | 0 | 0
452 | 0 | 0 | 0 | 0 | 0 | 0
453 | 0 | 0 | 0 | 0 | 0 | 0
454 | 0 | 0 | 0 | 0 | 0 | 0
455 | 0 | 0 | 0 | 0 | 0 | 0
456 | 0 | 0 | 0 | 0 | 0 | 0
457 | 0 | 0 | 0 | 0 | 0 | 0
458 | 0 | 0 | 0 | 0 | 0 | 0
459 | 0 | 0 | 0 | 0 | 0 | 0
460 | 0 | 0 | 0 | 0 | 0 | 0
461 | 0 | 0 | 0 | 0 | 0 | 0
462 | 0 | 0 | 0 | 0 | 0 | 0
463 | 0 | 0 | 0 | 0 | 0 | 0
464 | 0 | 0 | 0 | 0 | 0 | 0
465 | 0 | 0 | 0 | 0 | 0 | 0
466 | 0 | 0 | 0 | 0 | 0 | 0
467 | 0 | 0 | 0 | 0 | 0 | 0
468 | 0 | 0 | 0 | 0 | 0 | 0
469 | 0 | 0 | 0 | 0 | 0 | 0
470 | 0 | 0 | 0 | 0 | 0 | 0
471 | 0 | 0 | 0 | 0 | 0 | 0
472 | 0 | 0 | 0 | 0 | 0 | 0
473 | 0 | 0 | 0 | 0 | 0 | 0
474 | 0 | 0 | 0 | 0 | 0 | 0
475 | 0 | 0 | 0 | 0 | 0 | 0
476 | 0 | 0 | 0 | 0 | 0 | 0
477 | 0 | 0 | 0 | 0 | 0 | 0
478 | 0 | 0 | 0 | 0 | 0 | 0
479 | 0 | 0 | 0 | 0 | 0 | 0
480 | 0 | 0 | 0 | 0 | 0 | 0
481 | 0 | 0 | 0 | 0 | 0 | 0
482 | 0 | 0 | 0 | 0 | 0 | 0
483 | 0 | 0 | 0 | 0 | 0 | 0
484 | 0 | 0 | 0 | 0 | 0 | 0
485 | 0 | 0 | 0 | 0 | 0 | 0
486 | 0 | 0 | 0 | 0 | 0 | 0
487 | 0 | 0 | 0 | 0 | 0 | 0
488 | 0 | 0 | 0 | 0 | 0 | 0
489 | 0 | 0 | 0 | 0 | 0 | 0
490 | 0 | 0 | 0 | 0 | 0 | 0
491 | 0 | 0 | 0 | 0 | 0 | 0
492 | 0 | 0 | 0 | 0 | 0 | 0
493 | 0 | 0 | 0 | 0 | 0 | 0
494 | 0 | 0 | 0 | 0 | 0 | 0
495 | 0 | 0 | 0 | 0 | 0 | 0
496 | 0 | 0 | 0 | 0 | 0 | 0
497 | 0 | 0 | 0 | 0 | 0 | 0
498 | 0 | 0 | 0 | 0 | 0 | 0
499 | 0 | 0 | 0 | 0 | 0 | 0
500 | 0 | 0 | 0 | 0 | 0 | 0
501 | 0 | 0 | 0 | 0 | 0 | 0
502 | 0 | 0 | 0 | 0 | 0 | 0
503 | 0 | 0 | 0 | 0 | 0 | 0
504 | 0 | 0 | 0 | 0 | 0 | 0
505 | 0 | 0 | 0 | 0 | 0 | 0
506 | 0 | 0 | 0 | 0 | 0 | 0
507 | 0 | 0 | 0 | 0 | 0 | 0
508 | 0 | 0 | 0 | 0 | 0 | 0
509 | 0 | 0 | 0 | 0 | 0 | 0
510 | 0 | 0 | 0 | 0 | 0 | 0
511 | 0 | 0 | 0 | 0 | 0 | 0
512 | 0 | 0 | 0 | 0 | 0 | 0
513 | 0 | 0 | 0 | 0 | 0 | 0
514 | 0 | 0 | 0 | 0 | 0 | 0
515 | 0 | 0 | 0 | 0 | 0 | 0
516 | 0 | 0 | 0 | 0 | 0 | 0
517 | 0 | 0 | 0 | 0 | 0 | 0
518 | 0 | 0 | 0 | 0 | 0 | 0
519 | 0 | 0 | 0 | 0 | 0 | 0
520 | 0 | 0 | 0 | 0 | 0 | 0
521 | 0 | 0 | 0 | 0 | 0 | 0
522 | 0 | 0 | 0 | 0 | 0 | 0
523 | 0 | 0 | 0 | 0 | 0 | 0
524 | 0 | 0 | 0 | 0 | 0 | 0
525 | 0 | 0 | 0 | 0 | 0 | 0
526 | 0 | 0 | 0 | 0 | 0 | 0
527 | 0 | 0 | 0 | 0 | 0 | 0
528 | 0 | 0 | 0 | 0 | 0 | 0
529 | 0 | 0 | 0 | 0 | 0 | 0
530 | 0 | 0 | 0 | 0 | 0 | 0
531 | 0 | 0 | 0 | 0 | 0 | 0
532 | 0 | 0 | 0 | 0 | 0 | 0
533 | 0 | 0 | 0 | 0 | 0 | 0
534 | 0 | 0 | 0 | 0 | 0 | 0
535 | 0 | 0 | 0 | 0 | 0 | 0
536 | 0 | 0 | 0 | 0 | 0 | 0
537 | 0 | 0 | 0 | 0 | 0 | 0
538 | 0 | 0 | 0 | 0 | 0 | 0
539 | 0 | 0 | 0 | 0 | 0 | 0
540 | 0 | 0 | 0 | 0 | 0 | 0
541 | 0 | 0 | 0 | 0 | 0 | 0
542 | 0 | 0 | 0 | 0 | 0 | 0
543 | 0 | 0 | 0 | 0 | 0 | 0
544 | 0 | 0 | 0 | 0 | 0 | 0
545 | 0 | 0 | 0 | 0 | 0 | 0
546 | 0 | 0 | 0 | 0 | 0 | 0
547 | 0 | 0 | 0 | 0 | 0 | 0
548 | 0 | 0 | 0 | 0 | 0 | 0
549 | 0 | 0 | 0 | 0 | 0 | 0
550 | 0 | 0 | 0 | 0 | 0 | 0
551 | 0 | 0 | 0 | 0 | 0 | 0
552 | 0 | 0 | 0 | 0 | 0 | 0
553 | 0 | 0 | 0 | 0 | 0 | 0
554 | 0 | 0 | 0 | 0 | 0 | 0
555 | 0 | 0 | 0 | 0 | 0 | 0
556 | 0 | 0 | 0 | 0 | 0 | 0
557 | 0 | 0 | 0 | 0 | 0 | 0
558 | 0 | 0 | 0 | 0 | 0 | 0
559 | 0 | 0 | 0 | 0 | 0 | 0
560 | 0 | 0 | 0 | 0 | 0 | 0
561 | 0 | 0 | 0 | 0 | 0 | 0
562 | 0 | 0 | 0 | 0 | 0 | 0
563 | 0 | 0 | 0 | 0 | 0 | 0
564 | 0 | 0 | 0 | 0 | 0 | 0
565 | 0 | 0 | 0 | 0 | 0 | 0
566 | 0 | 0 | 0 | 0 | 0 | 0
567 | 0 | 0 | 0 | 0 | 0 | 0
568 | 0 | 0 | 0 | 0 | 0 | 0
569 | 0 | 0 | 0 | 0 | 0 | 0
570 | 0 | 0 | 0 | 0 | 0 | 0
571 | 0 | 0 | 0 | 0 | 0 | 0
572 | 0 | 0 | 0 | 0 | 0 | 0
573 | 0 | 0 | 0 | 0 | 0 | 0
574 | 0 | 0 | 0 | 0 | 0 | 0
575 | 0 | 0 | 0 | 0 | 0 | 0
576 | 0 | 0 | 0 | 0 | 0 | 0
577 | 0 | 0 | 0 | 0 | 0 | 0
578 | 0 | 0 | 0 | 0 | 0 | 0
579 | 0 | 0 | 0 | 0 | 0 | 0
580 | 0 | 0 | 0 | 0 | 0 | 0
581 | 0 | 0 | 0 | 0 | 0 | 0
582 | 0 | 0 | 0 | 0 | 0 | 0
583 | 0 | 0 | 0 | 0 | 0 | 0
584 | 0 | 0 | 0 | 0 | 0 | 0
585 | 0 | 0 | 0 | 0 | 0 | 0
586 | 0 | 0 | 0 | 0 | 0 | 0
587 | 0 | 0 | 0 | 0 | 0 | 0
588 | 0 | 0 | 0 | 0 | 0 | 0
589 | 0 | 0 | 0 | 0 | 0 | 0
590 | 0 | 0 | 0 | 0 | 0 | 0
591 | 0 | 0 | 0 | 0 | 0 | 0
592 | 0 | 0 | 0 | 0 | 0 | 0
593 | 0 | 0 | 0 | 0 | 0 | 0
594 | 0 | 0 | 0 | 0 | 0 | 0
595 | 0 | 0 | 0 | 0 | 0 | 0
596 | 0 | 0 | 0 | 0 | 0 | 0
597 | 0 | 0 | 0 | 0 | 0 | 0
598 | 0 | 0 | 0 | 0 | 0 | 0
599 | 0 | 0 | 0 | 0 | 0 | 0
600 | 238.676 | 206.806 | 199.775 | 400.863 | 318.609 | 295.952
601 | 266.992 | 230.414 | 222.581 | 448.76 | 354.52 | 329.309
602 | 299.035 | 257.336 | 248.587 | 502.132 | 394.952 | 366.866
603 | 330.952 | 284.737 | 275.057 | 560.678 | 439.815 | 408.539
604 | 371.116 | 318.736 | 307.899 | 625.108 | 489.408 | 454.605
605 | 416.467 | 357.028 | 344.89 | 697.617 | 544.757 | 506.018
606 | 461.866 | 394.977 | 381.548 | 777.118 | 604.772 | 561.766
607 | 519.134 | 442.682 | 427.632 | 867.933 | 672.726 | 624.887
608 | 583.513 | 496.37 | 479.495 | 965.904 | 745.882 | 692.841
609 | 648.617 | 550.147 | 531.443 | 1081.05 | 831.575 | 772.44
610 | 731.025 | 617.925 | 596.917 | 1207.55 | 925.565 | 859.746
611 | 823.717 | 694.094 | 670.496 | 1352.55 | 1034.18 | 960.641
612 | 928.29 | 779.976 | 753.458 | 1506.76 | 1150.88 | 1069.04
613 | 1044.25 | 874.851 | 845.107 | 1677.83 | 1280.82 | 1189.74
614 | 1160.03 | 969.511 | 936.549 | 1862.82 | 1420.52 | 1319.5
615 | 1304.45 | 1086.9 | 1049.95 | 2065.04 | 1573.3 | 1461.42
616 | 1465.26 | 1218.08 | 1176.66 | 2281.39 | 1738.47 | 1614.85
617 | 1623.76 | 1348.13 | 1302.3 | 2510.43 | 1916.07 | 1779.82
618 | 1819.94 | 1507.85 | 1456.59 | 2752 | 2106.32 | 1956.53
619 | 2035.51 | 1683.18 | 1625.95 | 3002.57 | 2305.68 | 2141.72
620 | 2246.52 | 1854.33 | 1791.28 | 3263.98 | 2515.35 | 2336.47
621 | 2500.11 | 2061.77 | 1991.68 | 3529.55 | 2730.48 | 2536.31
622 | 2772.34 | 2284.72 | 2207.04 | 3780.98 | 2951.88 | 2741.97
623 | 3032.04 | 2497.62 | 2412.71 | 4013.64 | 3175.5 | 2949.68
624 | 3341.5 | 2751.16 | 2657.63 | 4200.73 | 3386.17 | 3145.37
625 | 3660.93 | 3018.08 | 2915.47 | 4358.39 | 3581.47 | 3326.78
626 | 3942.89 | 3260.41 | 3149.56 | 4446.11 | 3733.61 | 3468.11
627 | 4234.72 | 3521.9 | 3402.16 | 4485.68 | 3852.83 | 3578.84
628 | 4472.79 | 3755.84 | 3628.15 | 4440.4 | 3910.29 | 3632.22
629 | 4620.56 | 3916.47 | 3783.31 | 4337.82 | 3923.7 | 3644.68
630 | 4692.67 | 4026.32 | 3889.43 | 4158.66 | 3871.11 | 3595.83
631 | 4653.13 | 4046.24 | 3908.67 | 3925.56 | 3766.64 | 3498.78
632 | 4531.1 | 3981.13 | 3845.78 | 3643.21 | 3604.39 | 3348.07
633 | 4298.22 | 3818.82 | 3688.98 | 3330.68 | 3397.28 | 3155.7
634 | 4005.25 | 3583.1 | 3461.28 | 3006.44 | 3157.21 | 2932.7
635 | 3724.93 | 3339.44 | 3225.91 | 2683.26 | 2896.09 | 2690.15
636 | 3408.68 | 3050.04 | 2946.35 | 2378.31 | 2631.92 | 2444.76
637 | 3115.54 | 2770.23 | 2676.05 | 2105.97 | 2375.57 | 2206.64
638 | 2885.96 | 2542.16 | 2455.73 | 1870.6 | 2138.43 | 1986.36
639 | 2662.27 | 2314.31 | 2235.63 | 1685.02 | 1935.18 | 1797.57
640 | 2473.56 | 2116.3 | 2044.35 | 1536.13 | 1763.1 | 1637.73
641 | 2334.67 | 1965.87 | 1899.03 | 1434.12 | 1633.88 | 1517.69
642 | 2207.48 | 1821.32 | 1759.4 | 1358.7 | 1531.68 | 1422.76
643 | 2107.73 | 1700.32 | 1642.51 | 1321.57 | 1471.22 | 1366.6
644 | 2043.9 | 1613.4 | 1558.55 | 1304.85 | 1434.86 | 1332.82
645 | 2000.28 | 1535.19 | 1482.99 | 1320.62 | 1436.04 | 1333.91
646 | 1982.82 | 1476.4 | 1426.21 | 1352.53 | 1455.38 | 1351.88
647 | 1990.24 | 1443.03 | 1393.97 | 1411.14 | 1503.36 | 1396.45
648 | 2021.85 | 1425.18 | 1376.72 | 1481.75 | 1563.43 | 1452.25
649 | 2077.37 | 1426.37 | 1377.87 | 1573.32 | 1648 | 1530.81
650 | 2153.67 | 1444.31 | 1395.21 | 1674.36 | 1745.61 | 1621.48
651 | 2265.78 | 1481.45 | 1431.08 | 1795.84 | 1865.62 | 1732.95
652 | 2404.72 | 1538.36 | 1486.06 | 1929.38 | 1996.09 | 1854.14
653 | 2550.89 | 1606.03 | 1551.43 | 2083.49 | 2146.61 | 1993.96
654 | 2736.22 | 1697.01 | 1639.32 | 2248.27 | 2309.03 | 2144.83
655 | 2942.05 | 1802.55 | 1741.26 | 2428.27 | 2489.49 | 2312.46
656 | 3145.51 | 1908.65 | 1843.76 | 2615.59 | 2679.1 | 2488.59
657 | 3393.92 | 2041.44 | 1972.04 | 2817.45 | 2883.44 | 2678.39
658 | 3664.4 | 2188.97 | 2114.55 | 3030.07 | 3096.97 | 2876.73
659 | 3925.39 | 2331.6 | 2252.33 | 3252.24 | 3322.79 | 3086.5
660 | 4205.01 | 2487.01 | 2402.45 | 3475.61 | 3555.05 | 3302.24
661 | 4543.74 | 2673.82 | 2582.92 | 3695.39 | 3793.62 | 3523.85
662 | 4908.24 | 2874.69 | 2776.96 | 3911.16 | 4034.58 | 3747.67
663 | 5258.56 | 3070.65 | 2966.26 | 4106.47 | 4263.73 | 3960.53
664 | 5661.78 | 3301.64 | 3189.39 | 4280.5 | 4476.66 | 4158.31
665 | 6067.11 | 3542.11 | 3421.69 | 4406.03 | 4650.34 | 4319.65
666 | 6408.77 | 3757.41 | 3629.66 | 4492.89 | 4792.62 | 4451.81
667 | 6731.15 | 3982.24 | 3846.86 | 4506.09 | 4872.23 | 4525.76
668 | 6960.17 | 4171.94 | 4030.1 | 4464.73 | 4904.07 | 4555.33
669 | 7069.91 | 4291.27 | 4145.38 | 4342.1 | 4858.06 | 4512.6
670 | 7057.49 | 4358.24 | 4210.07 | 4170.3 | 4761.36 | 4422.77
671 | 6910.65 | 4343.11 | 4195.45 | 3931.75 | 4582.92 | 4257.02
672 | 6659.59 | 4259.05 | 4114.25 | 3655.21 | 4351.4 | 4041.96
673 | 6261.27 | 4080.28 | 3941.56 | 3333.33 | 4050.21 | 3762.19
674 | 5799.39 | 3840.61 | 3710.03 | 2990.57 | 3714.89 | 3450.71
675 | 5366.58 | 3596.04 | 3473.78 | 2639.6 | 3348.71 | 3110.57
676 | 4927.11 | 3332.88 | 3219.57 | 2295.45 | 2975.23 | 2763.65
677 | 4448.29 | 3032.32 | 2929.23 | 1979.97 | 2610.56 | 2424.92
678 | 3991.31 | 2738.21 | 2645.12 | 1686.16 | 2258.98 | 2098.34
679 | 3616.8 | 2492.18 | 2407.45 | 1435.93 | 1942.65 | 1804.5
680 | 3226.48 | 2234.35 | 2158.38 | 1210.35 | 1650.06 | 1532.72
681 | 2866.24 | 1994.03 | 1926.23 | 1025.07 | 1403.41 | 1303.61
682 | 2575.18 | 1798.88 | 1737.72 | 859.046 | 1182.86 | 1098.74
683 | 2275.7 | 1597.41 | 1543.1 | 724.691 | 1003.21 | 931.868
684 | 2003.59 | 1414.21 | 1366.12 | 607.085 | 843.855 | 783.846
685 | 1788.11 | 1267.71 | 1224.61 | 512.917 | 713.521 | 662.781
686 | 1569.05 | 1117.51 | 1079.51 | 430.985 | 598.789 | 556.208
687 | 1375.87 | 982.555 | 949.149 | 366.104 | 505.512 | 469.564
688 | 1223.71 | 875.575 | 845.808 | 311.431 | 425.53 | 395.269
689 | 1088.68 | 780.289 | 753.76 | 267.888 | 361.439 | 335.736
690 | 955.165 | 685.914 | 662.594 | 230.585 | 307.18 | 285.335
691 | 838.097 | 603.075 | 582.571 | 200.474 | 263.177 | 244.462
692 | 747.683 | 539.222 | 520.889 | 175.947 | 226.416 | 210.315
693 | 659.21 | 476.155 | 459.966 | 156.776 | 197.07 | 183.056
694 | 582.913 | 422.018 | 407.67 | 141.527 | 173.236 | 160.917
695 | 524.725 | 380.063 | 367.142 | 129.4 | 153.382 | 142.474
696 | 468.396 | 339.766 | 328.214 | 120.244 | 136.95 | 127.211
697 | 419.929 | 305.573 | 295.184 | 113.618 | 123.592 | 114.803
698 | 383.742 | 279.681 | 270.173 | 109.126 | 113.497 | 105.426
699 | 351.873 | 258.288 | 249.506 | 105.52 | 105.2 | 97.719
700 | 320.838 | 237.239 | 200.262 | 103.357 | 98.625 | 91.611
701 | 293.578 | 219.317 | 185.134 | 102.496 | 92.976 | 86.364
702 | 273.148 | 205.862 | 173.776 | 103.706 | 88.936 | 82.612
703 | 254.01 | 193.031 | 162.945 | 105.86 | 85.996 | 79.881
704 | 238.577 | 183.02 | 154.495 | 108.77 | 84.565 | 78.551
705 | 226.762 | 175.214 | 147.905 | 112.013 | 83.941 | 77.972
706 | 215.256 | 167.733 | 141.59 | 116.461 | 84.402 | 78.4
707 | 205.685 | 162.001 | 136.751 | 122.415 | 85.559 | 79.475
708 | 198.57 | 157.955 | 133.335 | 129.745 | 87.363 | 81.151
709 | 193.001 | 155.461 | 131.231 | 137.243 | 89.533 | 83.166
710 | 188.224 | 153.448 | 129.531 | 144.453 | 92.019 | 85.476
711 | 184.908 | 152.165 | 128.448 | 153.002 | 95.24 | 88.467
712 | 182.901 | 152.193 | 128.472 | 163.807 | 99.249 | 92.191
713 | 181.638 | 153.155 | 129.284 | 177.067 | 105.043 | 97.573
714 | 181.493 | 155.161 | 130.977 | 191.073 | 112.133 | 104.159
715 | 182.545 | 157.684 | 133.107 | 206.991 | 120.261 | 111.709
716 | 184.337 | 160.899 | 135.821 | 224.796 | 128.669 | 119.519
717 | 187.07 | 165.623 | 139.808 | 244.181 | 138.092 | 128.272
718 | 190.681 | 171.352 | 144.645 | 264.283 | 148.934 | 138.343
719 | 194.823 | 177.21 | 149.589 | 286.174 | 161.258 | 149.791
720 | 200.852 | 184.74 | 155.946 | 310.449 | 174.095 | 161.715
721 | 208.271 | 193.174 | 163.065 | 336.503 | 187.043 | 173.742
722 | 216.229 | 201.663 | 170.232 | 364.969 | 201.32 | 187.004
723 | 225.214 | 211.306 | 178.372 | 395.79 | 217.405 | 201.944
724 | 236.317 | 223.574 | 188.727 | 431.272 | 235.627 | 218.871
725 | 248.481 | 237.383 | 200.384 | 470.132 | 254.654 | 236.545
726 | 260.918 | 251.46 | 212.267 | 513.087 | 274.93 | 255.379
727 | 276.498 | 268.718 | 226.836 | 558.577 | 297.194 | 276.06
728 | 293.334 | 287.483 | 242.675 | 607.389 | 322.324 | 299.402
729 | 310 | 305.327 | 257.738 | 660.424 | 350.061 | 325.167
730 | 327.711 | 324.744 | 274.129 | 717.614 | 379.66 | 352.661
731 | 350.659 | 348.497 | 294.179 | 779.959 | 411.324 | 382.074
732 | 375.748 | 375.343 | 316.841 | 846.149 | 445.025 | 413.378
733 | 400.784 | 401.764 | 339.144 | 918.329 | 482.542 | 448.228
734 | 432.078 | 432.94 | 365.461 | 996.078 | 522.727 | 485.555
735 | 466.862 | 468.318 | 395.325 | 1081.47 | 565.408 | 525.2
736 | 500.686 | 502.253 | 423.971 | 1174.31 | 611.297 | 567.826
737 | 536.279 | 539.987 | 455.824 | 1274.53 | 661.811 | 614.748
738 | 579.908 | 586.298 | 494.916 | 1383.27 | 717.823 | 666.777
739 | 627.385 | 636.502 | 537.295 | 1498.62 | 776.978 | 721.725
740 | 673.474 | 684.6 | 577.897 | 1621.59 | 838.978 | 779.316
741 | 729.909 | 743.251 | 627.406 | 1750.54 | 904.253 | 839.949
742 | 790.766 | 807.363 | 681.526 | 1887.79 | 974.768 | 905.45
743 | 850.322 | 868.286 | 732.954 | 2034.71 | 1050.31 | 975.618
744 | 913.466 | 933.335 | 787.864 | 2190.92 | 1129.79 | 1049.45
745 | 989.25 | 1010.58 | 853.068 | 2357.42 | 1212.27 | 1126.07
746 | 1069.44 | 1092.22 | 921.983 | 2530.79 | 1297.66 | 1205.38
747 | 1145.32 | 1169.77 | 987.447 | 2710.47 | 1388.33 | 1289.6
748 | 1223.07 | 1250.34 | 1055.46 | 2894.12 | 1482.63 | 1377.2
749 | 1312.47 | 1345.69 | 1135.95 | 3082.85 | 1579.37 | 1467.05
750 | 1405.46 | 1444.37 | 1219.25 | 3274.27 | 1677.8 | 1558.48
751 | 1491.66 | 1535.6 | 1296.25 | 3467.16 | 1778.66 | 1652.17
752 | 1595.54 | 1642.33 | 1386.36 | 3666.09 | 1882.38 | 1748.52
753 | 1703.48 | 1753.03 | 1479.8 | 3870.95 | 1987.05 | 1845.75
754 | 1804.42 | 1856.42 | 1567.08 | 4079.52 | 2092.51 | 1943.71
755 | 1908.02 | 1962.34 | 1656.49 | 4279.44 | 2196.57 | 2040.37
756 | 2028.9 | 2086.68 | 1761.45 | 4469.02 | 2298.01 | 2134.59
757 | 2151.51 | 2212.85 | 1867.95 | 4639.32 | 2392.7 | 2222.55
758 | 2261.71 | 2328.64 | 1965.69 | 4786.21 | 2478.45 | 2302.2
759 | 2365.82 | 2443.68 | 2062.8 | 4897.97 | 2550.27 | 2368.91
760 | 2470.11 | 2564.1 | 2164.45 | 4962.82 | 2603.2 | 2418.08
761 | 2556.29 | 2671.28 | 2254.93 | 4980.47 | 2636.89 | 2449.37
762 | 2611.73 | 2747.43 | 2319.21 | 4935.56 | 2641.41 | 2453.57
763 | 2641.41 | 2801.92 | 2365.2 | 4838.8 | 2618.92 | 2432.68
764 | 2639.81 | 2830.58 | 2389.4 | 4685.66 | 2565.36 | 2382.93
765 | 2608.32 | 2827.45 | 2386.76 | 4483.78 | 2485.72 | 2308.95
766 | 2557.39 | 2802.71 | 2365.87 | 4236.88 | 2382.29 | 2212.88
767 | 2485.3 | 2752.1 | 2323.16 | 3949.62 | 2255.74 | 2095.33
768 | 2392.92 | 2681.07 | 2263.19 | 3643.36 | 2116.15 | 1965.67
769 | 2297.72 | 2596.98 | 2192.21 | 3324.95 | 1967.06 | 1827.17
770 | 2189.15 | 2492.88 | 2104.33 | 3014.56 | 1815.3 | 1686.21
771 | 2056.86 | 2358.38 | 1990.8 | 2719.21 | 1663.22 | 1544.94
772 | 1924.11 | 2217.7 | 1872.05 | 2452.95 | 1516.1 | 1408.28
773 | 1809.43 | 2091.51 | 1765.52 | 2217.01 | 1381.98 | 1283.71
774 | 1702.67 | 1970.26 | 1663.17 | 2012.11 | 1263.48 | 1173.63
775 | 1591.41 | 1840.39 | 1553.54 | 1842.4 | 1164.34 | 1081.54
776 | 1486.76 | 1717.11 | 1449.48 | 1704.76 | 1081.15 | 1004.27
777 | 1402.89 | 1618.41 | 1366.17 | 1627.2 | 1032.39 | 958.971
778 | 1327.91 | 1529.03 | 1290.71 | 1592.44 | 1009.8 | 937.988
779 | 1255.22 | 1440.45 | 1215.94 | 1592.44 | 1009.8 | 937.988
780 | 1192.94 | 1361.79 | 1149.54 | 1592.44 | 1009.8 | 937.988
781 | 1143.6 | 1298.06 | 1095.74
782 | 1102.52 | 1242.57 | 1048.9
783 | 1066.02 | 1192.46 | 1006.61
784 | 1042.54 | 1155.49 | 975.395
785 | 1029.75 | 1134.55 | 957.72
786 | 1023.76 | 1121.1 | 946.361
787 | 1025.34 | 1114.18 | 940.521
788 | 1035.39 | 1116.44 | 942.433
789 | 1051.87 | 1125.83 | 950.352
790 | 1072.45 | 1141.97 | 963.983
791 | 1099.53 | 1165.93 | 984.204
792 | 1130.19 | 1194.24 | 1008.1
793 | 1163.1 | 1225.65 | 1034.62
794 | 1198.83 | 1259.92 | 1063.55
795 | 1245.89 | 1305.3 | 1101.85
796 | 1297.56 | 1354.05 | 1143
797 | 1347.85 | 1401.26 | 1182.85
798 | 1402.88 | 1453.97 | 1227.35
799 | 1463.08 | 1513.83 | 1277.88
800 | 1524.22 | 1574.42 | 1329.03
801 | 1580.22 | 1629.6 | 1375.61
802 | 1642.61 | 1687.19 | 1424.22
803 | 1718.13 | 1759.26 | 1485.06
804 | 1804.97 | 1842.54 | 1555.35
805 | 1881.77 | 1917.91 | 1618.98
806 | 1958.49 | 1994.52 | 1683.65
807 | 2045.81 | 2081.86 | 1757.38
808 | 2129.04 | 2171.33 | 1832.91
809 | 2207.22 | 2256.13 | 1904.48
810 | 2281.09 | 2339.02 | 1974.46
811 | 2348.42 | 2418.68 | 2041.7
812 | 2402.3 | 2486.51 | 2098.95
813 | 2437.4 | 2535.04 | 2139.93
814 | 2464.24 | 2574.15 | 2172.94
815 | 2482.9 | 2602.49 | 2196.86
816 | 2489.88 | 2614.7 | 2207.17
817 | 2490.27 | 2613.31 | 2205.99
818 | 2488.84 | 2603.3 | 2197.54
819 | 2485.74 | 2582.34 | 2179.85
820 | 2479.21 | 2553.7 | 2155.68
821 | 2473.95 | 2519.3 | 2126.64
822 | 2475.45 | 2492.3 | 2103.84
823 | 2483.12 | 2466.79 | 2082.31
824 | 2497.24 | 2444.63 | 2063.61
825 | 2516.22 | 2430.67 | 2051.82
826 | 2531.33 | 2418.24 | 2041.33
827 | 2545.07 | 2409.56 | 2034
828 | 2558.31 | 2402.51 | 2028.06
829 | 2565.95 | 2393.41 | 2020.37
830 | 2565.59 | 2385.94 | 2014.07
831 | 2555.27 | 2376.05 | 2005.71
832 | 2531.74 | 2363.62 | 1995.22
833 | 2490.12 | 2342.71 | 1977.57
834 | 2444.42 | 2315.3 | 1954.43
835 | 2385.97 | 2277.13 | 1922.22
836 | 2322.25 | 2233.69 | 1885.55
837 | 2249.92 | 2180.24 | 1840.42
838 | 2174.64 | 2126.95 | 1795.44
839 | 2104.95 | 2072.95 | 1749.85
840 | 2033.62 | 2014.02 | 1700.11
841 | 1956.49 | 1948.79 | 1645.05
842 | 1890.71 | 1892.47 | 1597.5
843 | 1839.6 | 1849.98 | 1561.64
844 | 1794.51 | 1812.79 | 1530.24
845 | 1751.45 | 1775.78 | 1499
846 | 1715.38 | 1740.43 | 1469.16
847 | 1692.19 | 1717.94 | 1450.18
848 | 1674.18 | 1704.25 | 1438.62
849 | 1661.9 | 1694.32 | 1430.24
850 | 1651.19 | 1689.16 | 1425.88
851 | 1646.85 | 1688.26 | 1425.13
852 | 1643.33 | 1689.8 | 1426.42
853 | 1640.45 | 1692.96 | 1429.09
854 | 1633.54 | 1697.52 | 1432.94
855 | 1621.92 | 1700.23 | 1435.23
856 | 1608.59 | 1700.83 | 1435.74
857 | 1591.34 | 1695.39 | 1431.14
858 | 1568.99 | 1682.25 | 1420.05
859 | 1536.81 | 1664.17 | 1404.79
860 | 1494.06 | 1637.16 | 1381.99
861 | 1450.88 | 1607.49 | 1356.94
862 | 1402.35 | 1567.75 | 1323.4
863 | 1343.18 | 1509.15 | 1273.93
864 | 1278.86 | 1441.52 | 1216.84
865 | 1216.33 | 1376.36 | 1161.84
866 | 1152.99 | 1309.1 | 1105.06
867 | 1093.53 | 1246.58 | 1052.29
868 | 1028.77 | 1180.01 | 996.091
869 | 972.465 | 1118.85 | 944.462
870 | 921.458 | 1062.54 | 896.934
871 | 874.404 | 1001.82 | 845.676
872 | 832.061 | 943.199 | 796.19
873 | 785.249 | 876.748 | 740.096
874 | 744.204 | 814.586 | 687.623
875 | 707.471 | 767.499 | 647.875
876 | 672.808 | 723.064 | 610.366
877 | 639.589 | 674.294 | 569.197
878 | 609.278 | 632.522 | 533.936
879 | 586.73 | 595.999 | 503.105
880 | 566.695 | 566.595 | 478.285
881 | 550.801 | 545.751 | 460.689
882 | 534.723 | 522.137 | 440.756
883 | 522.54 | 501.314 | 423.178
884 | 515.333 | 487.236 | 411.294
885 | 507.71 | 472.201 | 398.603
886 | 503.01 | 459.117 | 387.558
887 | 499.299 | 446.565 | 376.963
888 | 497.434 | 436.798 | 368.718
889 | 498.827 | 431.104 | 363.911
890 | 500.386 | 425.612 | 359.275
891 | 501.558 | 418.281 | 353.087
892 | 505.435 | 411.951 | 347.744
893 | 509.366 | 409.158 | 345.386
894 | 513.116 | 408.43 | 344.771
895 | 519.37 | 408.973 | 345.229
896 | 525.033 | 410.149 | 346.223
897 | 532.548 | 412.698 | 348.374
898 | 540.328 | 416.496 | 351.58
899 | 548.44 | 418.987 | 353.683
900 | 556.72 | 421.442 | 355.755
901 | 550.92 | 417.612 | 353.498
902 | 530.354 | 401.064 | 339.79
903 | 512.478 | 386.87 | 328.129
904 | 497.477 | 375.186 | 318.659
905 | 485.575 | 366.197 | 311.548
906 | 477.027 | 360.12 | 306.993
907 | 472.123 | 357.2 | 305.217
908 | 471.184 | 357.71 | 306.465
909 | 474.558 | 361.945 | 311.007
910 | 482.614 | 370.223 | 319.126
911 | 495.736 | 382.87 | 331.118
912 | 514.31 | 400.218 | 347.284
913 | 538.72 | 422.596 | 367.917
914 | 569.325 | 450.312 | 393.297
915 | 606.454 | 483.648 | 423.678
916 | 650.383 | 522.84 | 459.274
917 | 701.32 | 568.068 | 500.244
918 | 759.387 | 619.434 | 546.685
919 | 824.603 | 676.955 | 598.611
920 | 896.864 | 740.54 | 655.943
921 | 975.932 | 809.982 | 718.497
922 | 1061.42 | 884.945 | 785.973
923 | 1152.78 | 964.956 | 857.948
924 | 1249.3 | 1049.4 | 933.873
925 | 1350.1 | 1137.51 | 1013.07
926 | 1454.13 | 1228.4 | 1094.73
927 | 1560.22 | 1321.04 | 1177.93
928 | 1667.02 | 1414.26 | 1261.66
929 | 1773.1 | 1506.84 | 1344.78
930 | 1876.92 | 1597.43 | 1426.13
931 | 1976.9 | 1684.68 | 1504.46
932 | 2071.43 | 1767.2 | 1578.54
933 | 2158.92 | 1843.61 | 1647.15
934 | 2237.84 | 1912.59 | 1709.09
935 | 2306.76 | 1972.91 | 1763.27
936 | 2364.4 | 2023.46 | 1808.69
937 | 2409.64 | 2063.27 | 1844.49
938 | 2441.58 | 2091.57 | 1869.98
939 | 2459.56 | 2107.78 | 1884.63
940 | 2463.15 | 2111.55 | 1888.13
941 | 2452.22 | 2102.74 | 1880.37
942 | 2426.9 | 2081.47 | 1861.45
943 | 2387.56 | 2048.08 | 1831.67
944 | 2334.87 | 2003.13 | 1791.53
945 | 2269.7 | 1947.38 | 1741.72
946 | 2193.16 | 1881.78 | 1683.08
947 | 2106.49 | 1807.42 | 1616.6
948 | 2011.12 | 1725.52 | 1543.36
949 | 1908.56 | 1637.38 | 1464.53
950 | 1800.36 | 1544.37 | 1381.33
951 | 1688.11 | 1447.84 | 1294.98
952 | 1573.39 | 1349.14 | 1206.69
953 | 1457.69 | 1249.6 | 1117.63
954 | 1342.44 | 1150.42 | 1028.9
955 | 1228.94 | 1052.74 | 941.511
956 | 1118.36 | 957.578 | 856.363
957 | 1011.72 | 865.797 | 774.244
958 | 909.865 | 778.138 | 695.812
959 | 813.482 | 695.193 | 621.599
960 | 723.089 | 617.412 | 552.006
961 | 639.044 | 545.103 | 487.31
962 | 561.556 | 478.447 | 427.672
963 | 490.695 | 417.505 | 373.148
964 | 426.408 | 362.232 | 323.698
965 | 368.538 | 312.493 | 279.2
966 | 316.84 | 268.076 | 239.465
967 | 271 | 228.71 | 204.25
968 | 230.65 | 194.077 | 173.272
969 | 195.386 | 163.83 | 146.218
970 | 164.783 | 137.601 | 122.761
971 | 138.407 | 115.016 | 102.564
972 | 115.826 | 95.701 | 85.294
973 | 96.621 | 79.295 | 70.626
974 | 80.39 | 65.45 | 58.252
975 | 66.757 | 53.844 | 47.879
976 | 55.374 | 44.173 | 39.239
977 | 45.922 | 36.165 | 32.086
978 | 38.116 | 29.572 | 26.199
979 | 31.7 | 24.174 | 21.382
980 | 26.451 | 19.778 | 17.46
981 | 22.172 | 16.215 | 14.283
982 | 18.695 | 13.339 | 11.721
983 | 15.877 | 11.026 | 9.663
984 | 13.595 | 9.172 | 8.014
985 | 11.749 | 7.689 | 6.697
986 | 10.252 | 6.504 | 5.646
987 | 9.037 | 5.556 | 4.808
988 | 8.044 | 4.798 | 4.138
989 | 7.23 | 4.189 | 3.601
990 | 6.556 | 3.697 | 3.168
991 | 5.992 | 3.297 | 2.818
992 | 5.517 | 2.969 | 2.532
993 | 5.11 | 2.697 | 2.295
994 | 4.758 | 2.469 | 2.097
995 | 4.449 | 2.275 | 1.93
996 | 4.175 | 2.107 | 1.786
997 | 3.929 | 1.961 | 1.66
998 | 3.705 | 1.832 | 1.55
999 | 3.501 | 1.716 | 1.451
1000 | 3.312 | 1.612 | 1.362