## data
# Mitochondriak Lab - Mitochondriak Office - spectral irradiance in mW/m2/nm - measured 29 Oct 2026 - protocol ML-2026-10-OFFICE
# Spectrometers OHSP-350UVF (600-900 nm measured) and UPRtek CV600 (380-780 nm). Below 600 nm: 0 (no blue or green LEDs). 900-1000 nm: tail of the 850 nm LEDs plus the 940 nm LED band, determined from the spectrum and the TES 1333 solar meter. Citation with attribution permitted. www.mitochondriak.com
wavelength_nm | OHSP350UVF_15cm | OHSP350UVF_30cm | OHSP350UVF_50cm | OHSP350UVF_70cm | UPRtekCV600_15cm | UPRtekCV600_30cm | UPRtekCV600_50cm | UPRtekCV600_70cm
380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
410 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
420 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
421 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
437 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
442 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
457 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
470 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
481 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
499 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
501 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
510 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
530 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
535 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
536 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
538 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
546 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
548 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
550 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
552 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
563 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
569 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
574 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
589 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
590 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
591 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
593 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
598 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
600 | 108.901 | 90.587 | 32.915 | 5.226 | 248.167 | 139.477 | 81.569 | 19.259
601 | 122.172 | 101.221 | 38.428 | 6.243 | 293.512 | 156.658 | 92.69 | 22.008
602 | 137.37 | 113.465 | 44.407 | 7.426 | 345.284 | 175.654 | 105.362 | 25.064
603 | 152.849 | 125.678 | 50.573 | 8.637 | 402.495 | 196.754 | 119.502 | 28.466
604 | 172.331 | 141.133 | 58.512 | 10.171 | 465.233 | 220.363 | 135.304 | 32.289
605 | 194.668 | 158.938 | 68.184 | 11.998 | 535.061 | 247.205 | 153.373 | 36.673
606 | 216.95 | 177.216 | 78.467 | 13.858 | 610.749 | 276.685 | 173.405 | 41.561
607 | 245.855 | 200.803 | 91.882 | 16.355 | 695.827 | 310.146 | 196.661 | 47.411
608 | 278.649 | 228.094 | 106.64 | 19.167 | 786.8 | 345.99 | 221.976 | 53.937
609 | 312.044 | 256.523 | 122.113 | 22.157 | 892.661 | 388.941 | 252.215 | 61.661
610 | 355.096 | 293.211 | 141.919 | 26.08 | 1008.63 | 437.1 | 285.697 | 70.016
611 | 404.302 | 334.889 | 165.522 | 30.641 | 1141.21 | 493.306 | 324.453 | 79.778
612 | 460.626 | 382.184 | 193.309 | 36.054 | 1282.14 | 553.181 | 365.819 | 90.52
613 | 524.29 | 435.573 | 224.824 | 42.389 | 1439.66 | 620.716 | 412.73 | 102.664
614 | 588.927 | 490.111 | 257.724 | 48.997 | 1611.75 | 695.267 | 464.76 | 115.669
615 | 669.987 | 559.701 | 299.833 | 57.584 | 1802.63 | 778.831 | 522.84 | 129.953
616 | 761.857 | 637.396 | 348.214 | 67.394 | 2009.41 | 869.866 | 585.315 | 145.66
617 | 852.936 | 714.339 | 395.85 | 77.195 | 2231.34 | 968.679 | 652.325 | 162.964
618 | 966.868 | 809.344 | 455.547 | 89.63 | 2469.26 | 1076.98 | 725.512 | 181.975
619 | 1093.89 | 914.533 | 521.365 | 103.533 | 2720.73 | 1193.84 | 804.371 | 202.342
620 | 1219.88 | 1019.18 | 585.908 | 117.4 | 2992.7 | 1322.51 | 890.125 | 224.461
621 | 1375.07 | 1148.22 | 665.531 | 134.421 | 3278.05 | 1459.08 | 980.08 | 247.696
622 | 1544.39 | 1289.39 | 750.702 | 152.922 | 3568.75 | 1606.1 | 1076.72 | 272.508
623 | 1711.2 | 1425.83 | 832.756 | 170.825 | 3854.07 | 1757.86 | 1177.08 | 298.094
624 | 1915.56 | 1591.67 | 931.657 | 192.455 | 4126.36 | 1916.01 | 1281.66 | 324.543
625 | 2139.59 | 1771.11 | 1037.94 | 215.694 | 4390.26 | 2076.36 | 1387.12 | 351.163
626 | 2352.8 | 1942.37 | 1138.61 | 237.721 | 4605.4 | 2237.85 | 1492.9 | 377.801
627 | 2602.39 | 2145.92 | 1257.1 | 263.602 | 4773.08 | 2398.16 | 1598.04 | 404.265
628 | 2859.23 | 2358.37 | 1378.81 | 290.736 | 4873.16 | 2548.47 | 1698.18 | 430.035
629 | 3092.85 | 2552.72 | 1489.32 | 315.515 | 4938.98 | 2686.83 | 1792.37 | 455.088
630 | 3346.27 | 2765.94 | 1610.82 | 342.955 | 4951.25 | 2801.54 | 1874.12 | 477.677
631 | 3575.92 | 2967.69 | 1724.35 | 369.207 | 4915.49 | 2894.61 | 1944.02 | 497.308
632 | 3743.42 | 3127.92 | 1814.64 | 390.217 | 4816.73 | 2958.36 | 1997.57 | 512.82
633 | 3867.28 | 3271.32 | 1896.42 | 410.296 | 4662.25 | 2995.49 | 2036.2 | 524.835
634 | 3925.66 | 3368.99 | 1954.76 | 425.806 | 4462.85 | 3005.69 | 2059.86 | 533.766
635 | 3913.63 | 3413.12 | 1987.45 | 435.304 | 4235.51 | 2990.88 | 2069.83 | 540.215
636 | 3831.28 | 3407.15 | 2000.76 | 441.638 | 4002.58 | 2957.7 | 2071.93 | 545.235
637 | 3692.5 | 3361.51 | 1998.23 | 444.76 | 3774.32 | 2908.72 | 2071.12 | 549.247
638 | 3539.52 | 3291.25 | 1987.73 | 446.05 | 3563.66 | 2853.99 | 2072.82 | 553.406
639 | 3356.32 | 3194.19 | 1971.56 | 446.868 | 3387.52 | 2799.31 | 2078.14 | 558.879
640 | 3181.47 | 3096.54 | 1959.57 | 448.106 | 3246.24 | 2751.56 | 2087.85 | 566.334
641 | 3042.99 | 3019.76 | 1958.14 | 451.013 | 3157.34 | 2718.69 | 2108.87 | 577.273
642 | 2910.84 | 2951.01 | 1967.56 | 457.213 | 3103.91 | 2700.24 | 2141.4 | 591.063
643 | 2804.9 | 2906.58 | 1990.93 | 466.508 | 3101.49 | 2711.56 | 2195.82 | 609.976
644 | 2736.23 | 2890.53 | 2025.42 | 478.348 | 3126.46 | 2744.88 | 2265.72 | 632.45
645 | 2688.22 | 2896.45 | 2080.28 | 494.883 | 3197.26 | 2815.27 | 2363.26 | 662.387
646 | 2667.81 | 2929.9 | 2153.06 | 515.197 | 3292.24 | 2905.37 | 2476.35 | 697.081
647 | 2673.2 | 2983.01 | 2234.39 | 537.046 | 3431.91 | 3031.26 | 2615.64 | 739.042
648 | 2704.29 | 3069.47 | 2342.4 | 565.466 | 3594.31 | 3175.06 | 2766.97 | 783.929
649 | 2759.59 | 3182.86 | 2466.61 | 598.351 | 3788.84 | 3349.34 | 2938.67 | 833.631
650 | 2835.12 | 3308.59 | 2595 | 631.877 | 3993.54 | 3536.93 | 3119.2 | 885.34
651 | 2945.59 | 3476.02 | 2759.55 | 674.478 | 4216.97 | 3747.94 | 3317.65 | 941.259
652 | 3081.89 | 3669.54 | 2944.28 | 722.136 | 4449.91 | 3970.23 | 3526.15 | 999.609
653 | 3223.34 | 3863.34 | 3126.03 | 768.782 | 4691.29 | 4204.51 | 3745.76 | 1061.81
654 | 3399.61 | 4097.34 | 3342.36 | 824.617 | 4932.44 | 4440.81 | 3967.53 | 1125.83
655 | 3587.74 | 4345.71 | 3569.95 | 883.051 | 5152.46 | 4675.12 | 4188.34 | 1189.72
656 | 3765.1 | 4578.23 | 3781.83 | 937.149 | 5348.94 | 4905.83 | 4406.49 | 1251.72
657 | 3969.3 | 4844.27 | 4023.24 | 999.283 | 5493.67 | 5115.46 | 4608.1 | 1309.53
658 | 4176.42 | 5112.46 | 4269.31 | 1062.2 | 5601.43 | 5303.89 | 4792.97 | 1364.54
659 | 4356.5 | 5347.62 | 4485.81 | 1117.69 | 5659.23 | 5443.28 | 4942.59 | 1410.64
660 | 4528.58 | 5573.73 | 4697.1 | 1172.22 | 5691.84 | 5544.82 | 5066.56 | 1448.57
661 | 4696.81 | 5804.96 | 4916.37 | 1229.39 | 5681.67 | 5590.15 | 5138.55 | 1471.21
662 | 4824.62 | 5994.59 | 5107.7 | 1280.78 | 5639.5 | 5602.51 | 5170.62 | 1483.18
663 | 4902.18 | 6119.28 | 5242.88 | 1318.8 | 5511.42 | 5547.24 | 5131.51 | 1476.85
664 | 4921.68 | 6184.66 | 5335.94 | 1346.96 | 5306.54 | 5436.15 | 5041.65 | 1457.52
665 | 4872.04 | 6164.36 | 5360.35 | 1359.4 | 5003.05 | 5239.58 | 4877.46 | 1416.64
666 | 4761.54 | 6067.71 | 5314.33 | 1353.77 | 4651.9 | 4990.08 | 4667.04 | 1360.77
667 | 4555.6 | 5857.04 | 5176.05 | 1326.89 | 4254.21 | 4674.31 | 4394.92 | 1285.1
668 | 4289.75 | 5561.15 | 4956.5 | 1278.35 | 3834.28 | 4321.73 | 4086 | 1198.38
669 | 4016.47 | 5242.36 | 4704.24 | 1219.33 | 3404.52 | 3934.28 | 3739.2 | 1100.16
670 | 3685.69 | 4841.7 | 4373.61 | 1138.61 | 2978.96 | 3533.86 | 3376.84 | 996.798
671 | 3349.55 | 4423.04 | 4019.23 | 1049.49 | 2579.47 | 3131.7 | 3008.61 | 890.944
672 | 3055.45 | 4051.48 | 3696.67 | 966.965 | 2203.54 | 2735.22 | 2643.59 | 785.719
673 | 2735.98 | 3645.09 | 3337.64 | 873.175 | 1874.38 | 2365.51 | 2298.76 | 686.435
674 | 2436.2 | 3262.94 | 2994.1 | 782.765 | 1576.44 | 2019.38 | 1972.03 | 592.704
675 | 2191.79 | 2950.32 | 2709.13 | 707.546 | 1328.95 | 1719.63 | 1685.6 | 509.176
676 | 1965.7 | 2659.48 | 2442.96 | 637.074 | 1109.69 | 1448.84 | 1426.48 | 431.619
677 | 1734.49 | 2359.77 | 2168.03 | 564.051 | 934.292 | 1225.9 | 1210.83 | 366.032
678 | 1523.87 | 2085.45 | 1917.04 | 496.505 | 781.137 | 1028.06 | 1016.67 | 307.927
679 | 1355.14 | 1865.07 | 1714.47 | 442.135 | 659.484 | 868.811 | 857.843 | 260.998
680 | 1182.66 | 1640.29 | 1507.55 | 386.874 | 550.831 | 727.19 | 716.769 | 218.789
681 | 1027.21 | 1436.52 | 1320.15 | 337.004 | 463.835 | 614.11 | 605.291 | 184.648
682 | 904.581 | 1275.39 | 1169.88 | 297.486 | 387.752 | 514.662 | 508.112 | 154.678
683 | 782.398 | 1113.11 | 1018.79 | 257.76 | 328.023 | 435.648 | 430.987 | 130.899
684 | 675.642 | 968.778 | 883.673 | 222.559 | 275.698 | 366.113 | 362.253 | 109.891
685 | 593.336 | 856.31 | 777.628 | 195.122 | 233.327 | 310.28 | 306.447 | 92.673
686 | 512.805 | 744.454 | 672.199 | 167.96 | 196.139 | 261.788 | 258.177 | 77.539
687 | 443.68 | 647.448 | 579.663 | 144.46 | 167.135 | 222.975 | 219.625 | 65.8
688 | 390.685 | 572.343 | 508.068 | 126.279 | 143.498 | 189.664 | 186.503 | 56.312
689 | 344.942 | 506.669 | 445.758 | 110.422 | 124.98 | 162.733 | 159.89 | 48.864
690 | 301.015 | 443.349 | 385.866 | 95.067 | 108.383 | 139.699 | 137.248 | 42.101
691 | 264.044 | 388.592 | 335.012 | 81.895 | 93.96 | 120.955 | 118.644 | 36.21
692 | 236.392 | 347.447 | 297.035 | 72.046 | 81.463 | 105.164 | 102.76 | 31.163
693 | 210.255 | 307.552 | 260.35 | 62.769 | 71.102 | 92.042 | 89.668 | 27.006
694 | 188.446 | 273.541 | 229.481 | 54.823 | 62.226 | 80.734 | 78.64 | 23.59
695 | 172.182 | 248.306 | 205.758 | 48.821 | 54.164 | 70.91 | 69.087 | 20.757
696 | 156.471 | 223.911 | 183.09 | 42.934 | 46.937 | 62.318 | 60.897 | 18.38
697 | 142.855 | 203.495 | 163.475 | 37.995 | 40.789 | 54.629 | 53.995 | 16.338
698 | 132.313 | 187.573 | 148.737 | 34.353 | 36.101 | 48.338 | 48.119 | 14.569
699 | 123.693 | 173.652 | 135.651 | 31.282 | 32.241 | 43.232 | 42.541 | 12.937
700 | 114.998 | 159.955 | 122.689 | 28.264 | 29.24 | 38.877 | 37.869 | 11.509
701 | 107.393 | 148.099 | 111.602 | 25.639 | 26.707 | 34.485 | 34.201 | 10.248
702 | 101.362 | 138.991 | 103.265 | 23.73 | 24.642 | 30.823 | 31.907 | 9.301
703 | 95.092 | 129.983 | 94.628 | 21.815 | 22.685 | 28.158 | 29.896 | 8.498
704 | 90.142 | 122.155 | 86.519 | 20.021 | 20.719 | 26.467 | 27.311 | 7.646
705 | 86.263 | 116.125 | 80.103 | 18.457 | 18.561 | 24.608 | 24.038 | 6.646
706 | 82.325 | 109.593 | 73.517 | 16.798 | 16.047 | 22.192 | 20.785 | 5.671
707 | 78.602 | 103.613 | 68.372 | 15.361 | 13.687 | 19.582 | 18.454 | 5.063
708 | 75.622 | 98.928 | 64.473 | 14.299 | 12.057 | 17.393 | 16.945 | 4.958
709 | 73.001 | 94.773 | 60.406 | 13.355 | 11.173 | 15.819 | 15.704 | 4.976
710 | 70.319 | 91.255 | 56.734 | 12.395 | 10.504 | 14.365 | 14.592 | 4.792
711 | 67.594 | 87.617 | 53.24 | 11.558 | 9.708 | 13.041 | 13.482 | 4.39
712 | 65.299 | 84.66 | 50.338 | 10.976 | 8.995 | 12.169 | 12.402 | 4.072
713 | 63.34 | 81.348 | 47.634 | 10.327 | 8.945 | 11.744 | 11.406 | 3.882
714 | 61.904 | 78.009 | 44.829 | 9.73 | 9.387 | 11.341 | 10.517 | 3.619
715 | 60.858 | 75.36 | 42.051 | 9.181 | 9.731 | 11.044 | 10.149 | 3.123
716 | 59.64 | 73.232 | 39.461 | 8.578 | 9.582 | 10.895 | 10.245 | 2.66
717 | 57.864 | 71.215 | 36.713 | 8.093 | 9.176 | 10.653 | 10.724 | 2.66
718 | 56.502 | 69.497 | 34.831 | 7.661 | 9.297 | 10.249 | 11.133 | 3.06
719 | 55.449 | 68.077 | 34.049 | 7.278 | 10.146 | 9.947 | 11.443 | 3.503
720 | 54.547 | 66.329 | 32.717 | 6.832 | 11.096 | 9.837 | 11.426 | 3.588
721 | 53.574 | 64.923 | 31.05 | 6.381 | 11.68 | 9.695 | 10.974 | 3.485
722 | 52.749 | 63.605 | 29.253 | 5.989 | 11.847 | 10.006 | 10.478 | 3.374
723 | 51.794 | 62.178 | 27.81 | 5.688 | 12.08 | 10.982 | 10.239 | 3.244
724 | 50.982 | 60.804 | 26.272 | 5.454 | 13.051 | 11.62 | 9.871 | 3.051
725 | 50.441 | 59.616 | 25.064 | 5.253 | 14.608 | 11.512 | 9.218 | 2.837
726 | 50.126 | 59.231 | 24.115 | 5.04 | 16.929 | 11.339 | 8.837 | 2.686
727 | 49.739 | 59.068 | 23.52 | 4.807 | 19.557 | 12.148 | 9.315 | 2.69
728 | 49.4 | 58.803 | 23.228 | 4.598 | 22.4 | 13.652 | 10.518 | 2.882
729 | 49.083 | 58.218 | 22.857 | 4.504 | 24.87 | 14.681 | 11.51 | 3.1
730 | 49.132 | 57.262 | 21.801 | 4.446 | 26.82 | 15.072 | 12.075 | 3.249
731 | 49.306 | 56.245 | 20.396 | 4.324 | 29.285 | 15.456 | 12.486 | 3.404
732 | 49.685 | 55.766 | 19.182 | 4.114 | 32.707 | 16.262 | 13.125 | 3.65
733 | 50.336 | 55.999 | 18.945 | 3.907 | 37.221 | 17.434 | 14.202 | 3.934
734 | 51.322 | 56.609 | 19.054 | 3.717 | 41.802 | 18.556 | 15.306 | 4.163
735 | 52.377 | 57.223 | 19.21 | 3.617 | 46.342 | 19.9 | 16.283 | 4.407
736 | 53.253 | 57.579 | 19.476 | 3.629 | 51.222 | 21.664 | 17.584 | 4.747
737 | 54.216 | 57.929 | 19.96 | 3.703 | 56.662 | 23.643 | 19.576 | 5.131
738 | 55.397 | 58.447 | 20.859 | 3.871 | 62.696 | 25.154 | 21.36 | 5.404
739 | 57.141 | 59.28 | 21.798 | 4.059 | 68.989 | 26.314 | 22.399 | 5.584
740 | 59.067 | 60.251 | 22.424 | 4.183 | 75.469 | 27.908 | 23.039 | 5.792
741 | 61.345 | 61.361 | 23.212 | 4.238 | 82.511 | 30.473 | 24.601 | 6.171
742 | 63.405 | 62.483 | 23.909 | 4.198 | 90.667 | 34.145 | 27.567 | 6.791
743 | 64.924 | 63.644 | 24.701 | 4.151 | 99.202 | 38.019 | 30.684 | 7.582
744 | 66.307 | 64.852 | 25.612 | 4.181 | 107.438 | 41.88 | 33.349 | 8.51
745 | 68.416 | 66.444 | 26.756 | 4.355 | 115.976 | 45.207 | 35.78 | 9.398
746 | 71.082 | 68.25 | 27.971 | 4.644 | 125.534 | 48.281 | 38.603 | 10.19
747 | 73.817 | 70.078 | 28.824 | 4.962 | 136.612 | 51.631 | 42.057 | 10.84
748 | 76.781 | 71.897 | 29.449 | 5.286 | 147.452 | 55.224 | 45.016 | 11.445
749 | 80.092 | 73.802 | 30.227 | 5.668 | 157.42 | 58.624 | 47.06 | 12.014
750 | 83.471 | 75.76 | 31.285 | 6.058 | 166.973 | 61.932 | 49.01 | 12.71
751 | 86.372 | 77.267 | 32.975 | 6.347 | 177.007 | 65.607 | 51.526 | 13.562
752 | 89.324 | 79.26 | 35.076 | 6.66 | 189.206 | 69.925 | 55.311 | 14.546
753 | 92.293 | 81.628 | 37.622 | 6.991 | 202.841 | 74.586 | 59.358 | 15.504
754 | 95.315 | 84.381 | 40.105 | 7.372 | 217.525 | 79.805 | 63.164 | 16.382
755 | 99.431 | 87.553 | 42.555 | 7.819 | 232.018 | 85.601 | 66.844 | 17.183
756 | 104.534 | 90.803 | 45.438 | 8.241 | 246.471 | 91.719 | 70.816 | 17.951
757 | 110.371 | 93.811 | 47.996 | 8.64 | 262.32 | 97.904 | 75.95 | 19.051
758 | 115.158 | 96.24 | 50.288 | 9.044 | 279.876 | 104.466 | 81.673 | 20.476
759 | 119.602 | 98.84 | 52.988 | 9.571 | 299.383 | 111.833 | 87.57 | 22.157
760 | 125.047 | 101.679 | 56.069 | 10.296 | 319.526 | 119.589 | 93.079 | 23.697
761 | 130.037 | 104.777 | 59.783 | 10.954 | 340.283 | 127.357 | 98.387 | 25.106
762 | 134.675 | 108.169 | 62.573 | 11.395 | 363.388 | 135.104 | 103.942 | 26.416
763 | 138.97 | 111.419 | 65.096 | 11.828 | 388.673 | 143.318 | 110.085 | 27.785
764 | 143.666 | 115.427 | 69.047 | 12.356 | 415.771 | 152.268 | 117.245 | 29.364
765 | 149.374 | 118.58 | 74.04 | 13.097 | 443.781 | 162.173 | 125.12 | 31.023
766 | 155.819 | 122.713 | 78.613 | 13.929 | 473.416 | 173.084 | 133.492 | 32.693
767 | 164.811 | 128.073 | 84.927 | 14.824 | 506.438 | 184.998 | 142.8 | 34.641
768 | 173.933 | 134.727 | 90.386 | 15.884 | 541.785 | 197.465 | 152.771 | 36.987
769 | 182.833 | 140.687 | 96.121 | 16.949 | 578.967 | 210.445 | 162.931 | 39.677
770 | 191.916 | 146.735 | 102.923 | 18.097 | 618.07 | 224.474 | 172.531 | 41.992
771 | 202.706 | 153.68 | 110.407 | 19.588 | 659.818 | 239.357 | 182.101 | 44.172
772 | 214.341 | 160.886 | 118.571 | 20.936 | 705.809 | 254.614 | 192.39 | 46.946
773 | 224.85 | 168.769 | 125.657 | 22.204 | 755.332 | 270.405 | 203.964 | 50.317
774 | 235.464 | 176.41 | 133.74 | 23.491 | 808.117 | 287.204 | 217.02 | 53.901
775 | 248.233 | 186.088 | 142.824 | 25.131 | 863.456 | 304.825 | 230.837 | 57.008
776 | 262.208 | 196.396 | 151.365 | 26.774 | 922.543 | 323.341 | 245.262 | 60.139
777 | 275.427 | 205.508 | 158.815 | 28.348 | 963.327 | 335.664 | 254.855 | 62.297
778 | 289.98 | 215.568 | 166.607 | 29.959 | 984.808 | 342.305 | 259.93 | 63.465
779 | 307.461 | 227.339 | 177.098 | 32.096 | 984.808 | 342.305 | 259.93 | 63.465
780 | 326.918 | 239.422 | 188.256 | 34.35 | 984.808 | 342.305 | 259.93 | 63.465
781 | 345.599 | 250.745 | 198.702 | 36.405
782 | 365.548 | 262.149 | 209.429 | 38.268
783 | 389.613 | 275.433 | 222.735 | 40.443
784 | 414.804 | 290.592 | 239.087 | 42.959
785 | 438.699 | 305.547 | 253.9 | 45.486
786 | 464.852 | 321.824 | 269.57 | 48.501
787 | 495.583 | 341.509 | 288.36 | 51.896
788 | 529.417 | 361.474 | 307.308 | 55.658
789 | 562.088 | 380.95 | 324.999 | 59.052
790 | 597.027 | 399.577 | 342.566 | 62.475
791 | 639.725 | 423.215 | 363.399 | 66.478
792 | 684.049 | 448.493 | 385.688 | 70.507
793 | 724.92 | 472.094 | 407.59 | 74.51
794 | 767.755 | 497.367 | 431.279 | 78.692
795 | 819.173 | 525.728 | 458.788 | 83.771
796 | 874.924 | 555.792 | 488.061 | 88.982
797 | 925.974 | 582.423 | 515.529 | 93.684
798 | 979.981 | 611.183 | 543.688 | 98.358
799 | 1042.11 | 644.721 | 575.183 | 103.881
800 | 1107.62 | 679.867 | 605.779 | 109.692
801 | 1169.68 | 711.529 | 633.498 | 114.994
802 | 1235.86 | 745.047 | 662.205 | 120.722
803 | 1313.09 | 784.94 | 697.836 | 126.947
804 | 1396.08 | 830.617 | 737.014 | 133.992
805 | 1471.96 | 873.351 | 772.522 | 140.226
806 | 1552.31 | 915.06 | 810.993 | 147.075
807 | 1650.32 | 964.558 | 856.227 | 154.851
808 | 1752.27 | 1014.55 | 907.492 | 163.225
809 | 1852.29 | 1064.58 | 955.197 | 171.55
810 | 1952.87 | 1118.89 | 1004.48 | 180.23
811 | 2063.88 | 1178.16 | 1055.68 | 189.738
812 | 2169.4 | 1237.59 | 1106.18 | 198.715
813 | 2258.64 | 1286.78 | 1151.83 | 206.699
814 | 2346.99 | 1336.35 | 1193.17 | 214.782
815 | 2443.34 | 1393.78 | 1237.4 | 223.928
816 | 2537.74 | 1447.79 | 1277.69 | 232.09
817 | 2622.21 | 1494.26 | 1311.92 | 238.786
818 | 2707.56 | 1537.07 | 1344.69 | 244.97
819 | 2801.53 | 1583.83 | 1376.51 | 251.372
820 | 2892.96 | 1629.99 | 1405.67 | 257.167
821 | 2975.98 | 1671.3 | 1432.18 | 261.375
822 | 3069.47 | 1715.45 | 1462.51 | 266.543
823 | 3169.9 | 1759.7 | 1496.22 | 272.456
824 | 3294.45 | 1813.03 | 1534.49 | 279.996
825 | 3426.41 | 1873.98 | 1576.66 | 288.115
826 | 3544.8 | 1933.39 | 1616.23 | 295.052
827 | 3667.8 | 1997.98 | 1658.21 | 302.359
828 | 3810.97 | 2078.51 | 1712.87 | 312.241
829 | 3962 | 2157.49 | 1772.94 | 323.01
830 | 4096.55 | 2233.52 | 1829.63 | 333.261
831 | 4231.29 | 2307.59 | 1891.38 | 344.08
832 | 4378.45 | 2391.55 | 1957.6 | 356.677
833 | 4518.07 | 2477.92 | 2023.61 | 369.566
834 | 4632.07 | 2549.01 | 2081.69 | 381.242
835 | 4731.74 | 2615.47 | 2138.34 | 392.214
836 | 4826.16 | 2680.32 | 2194.95 | 403.111
837 | 4929.27 | 2750.94 | 2258.08 | 416.607
838 | 5028.33 | 2817.05 | 2315.46 | 430.518
839 | 5102.3 | 2863.16 | 2359.39 | 441.849
840 | 5169.95 | 2896.92 | 2396.99 | 452.537
841 | 5237.98 | 2923.8 | 2432.82 | 463.55
842 | 5315.27 | 2952.84 | 2469.17 | 475.384
843 | 5383.08 | 2978.68 | 2498.73 | 486.426
844 | 5464.03 | 3007.06 | 2530.35 | 498.425
845 | 5567.83 | 3037.22 | 2562.6 | 512.863
846 | 5675.47 | 3064.37 | 2594.28 | 527.938
847 | 5775.67 | 3089.37 | 2623.84 | 542.007
848 | 5875.35 | 3120.71 | 2658.32 | 556.597
849 | 5972.36 | 3154.94 | 2695.21 | 571.399
850 | 6074.72 | 3195.23 | 2740.32 | 588.407
851 | 6163.41 | 3234.8 | 2786.64 | 604.833
852 | 6214.37 | 3263.88 | 2823.38 | 617.968
853 | 6240.95 | 3287.45 | 2854.46 | 630.589
854 | 6248.12 | 3308.33 | 2882.74 | 643.238
855 | 6217.43 | 3316.2 | 2903.89 | 653.801
856 | 6159.02 | 3306.99 | 2910.49 | 660.647
857 | 6060.73 | 3279.6 | 2900.2 | 663.307
858 | 5920.36 | 3236.36 | 2874.69 | 661.932
859 | 5711.95 | 3161.61 | 2814.82 | 655.083
860 | 5468.03 | 3067.8 | 2742.53 | 642.799
861 | 5209.11 | 2955.56 | 2654.74 | 626.415
862 | 4934.21 | 2829.67 | 2555.99 | 605.73
863 | 4594.3 | 2671.49 | 2421.95 | 575.016
864 | 4239.19 | 2507.35 | 2270.37 | 539.735
865 | 3918.89 | 2352.65 | 2124.91 | 505.533
866 | 3605.38 | 2191.04 | 1977.69 | 471.972
867 | 3310.56 | 2042.44 | 1835.64 | 439.094
868 | 2999.04 | 1885.63 | 1683.69 | 403.412
869 | 2714.73 | 1742.75 | 1541.45 | 368.294
870 | 2469.26 | 1619.63 | 1418.53 | 337.32
871 | 2238.38 | 1496.12 | 1303.73 | 308.043
872 | 2020.16 | 1384.47 | 1193.82 | 280.637
873 | 1801.65 | 1269.93 | 1076.93 | 251.639
874 | 1616.06 | 1167 | 967.995 | 225.119
875 | 1473.53 | 1078.35 | 877.33 | 203.24
876 | 1348.19 | 1001.12 | 797.08 | 183.298
877 | 1224.96 | 924.812 | 716.16 | 163.356
878 | 1117.62 | 860.971 | 641.171 | 146.19
879 | 1038.92 | 810.692 | 581.642 | 132.514
880 | 967.334 | 763.808 | 527.485 | 120.582
881 | 902.129 | 723.175 | 482.744 | 109.408
882 | 840.487 | 682.06 | 439.469 | 98.151
883 | 787.568 | 647.526 | 398.632 | 87.669
884 | 747.892 | 621.734 | 363.672 | 78.602
885 | 716.658 | 598.524 | 331.428 | 70.404
886 | 684.969 | 579.688 | 305.165 | 63.134
887 | 655.995 | 563.43 | 275.069 | 56.688
888 | 630.317 | 546.449 | 248.758 | 51.246
889 | 608.163 | 531.322 | 225.503 | 46.177
890 | 588.206 | 515.691 | 205.181 | 41.372
891 | 570.084 | 504.053 | 190.936 | 36.367
892 | 552.69 | 496.433 | 176.398 | 31.86
893 | 538.391 | 492.778 | 162.266 | 28.234
894 | 529.599 | 491.734 | 153.726 | 25.42
895 | 524.603 | 490.914 | 145.84 | 22.859
896 | 522.432 | 486.64 | 139.643 | 19.906
897 | 519.99 | 483.761 | 134.696 | 17.285
898 | 517.211 | 482.297 | 129.193 | 15.393
899 | 512.639 | 482.872 | 123.283 | 13.303
900 | 506.485 | 484.41 | 115.407 | 11.286
901 | 476.91 | 461.952 | 115.325 | 12.442
902 | 440.336 | 433.228 | 109.159 | 12.138
903 | 408.243 | 407.5 | 104.281 | 12.037
904 | 380.489 | 384.744 | 100.741 | 12.156
905 | 356.98 | 364.964 | 98.607 | 12.518
906 | 337.671 | 348.192 | 97.964 | 13.147
907 | 322.557 | 334.487 | 98.914 | 14.072
908 | 311.675 | 323.931 | 101.574 | 15.324
909 | 305.097 | 316.627 | 106.077 | 16.937
910 | 302.924 | 312.697 | 112.564 | 18.948
911 | 305.283 | 312.278 | 121.186 | 21.393
912 | 312.314 | 315.511 | 132.097 | 24.313
913 | 324.167 | 322.543 | 145.45 | 27.743
914 | 340.987 | 333.513 | 161.39 | 31.719
915 | 362.906 | 348.545 | 180.049 | 36.275
916 | 390.032 | 367.742 | 201.538 | 41.437
917 | 422.434 | 391.172 | 225.943 | 47.226
918 | 460.128 | 418.86 | 253.309 | 53.657
919 | 503.069 | 450.781 | 283.643 | 60.731
920 | 551.137 | 486.846 | 316.898 | 68.441
921 | 604.122 | 526.894 | 352.971 | 76.764
922 | 661.722 | 570.688 | 391.695 | 85.665
923 | 723.529 | 617.907 | 432.839 | 95.093
924 | 789.029 | 668.144 | 476.098 | 104.982
925 | 857.599 | 720.904 | 521.101 | 115.248
926 | 928.511 | 775.606 | 567.405 | 125.794
927 | 1000.93 | 831.59 | 614.506 | 136.507
928 | 1073.95 | 888.122 | 661.839 | 147.262
929 | 1146.58 | 944.411 | 708.794 | 157.922
930 | 1217.75 | 999.617 | 754.722 | 168.342
931 | 1286.39 | 1052.87 | 798.95 | 178.372
932 | 1351.4 | 1103.3 | 840.797 | 187.859
933 | 1411.69 | 1150.04 | 879.592 | 196.654
934 | 1466.24 | 1192.24 | 914.687 | 204.611
935 | 1514.05 | 1229.15 | 945.478 | 211.596
936 | 1554.26 | 1260.04 | 971.42 | 217.486
937 | 1586.11 | 1284.33 | 992.042 | 222.176
938 | 1608.98 | 1301.51 | 1006.96 | 225.58
939 | 1622.42 | 1311.22 | 1015.9 | 227.637
940 | 1626.15 | 1313.23 | 1018.69 | 228.307
941 | 1620.06 | 1307.45 | 1015.25 | 227.578
942 | 1604.24 | 1293.96 | 1005.66 | 225.461
943 | 1578.94 | 1272.95 | 990.079 | 221.995
944 | 1544.61 | 1244.78 | 968.779 | 217.243
945 | 1501.84 | 1209.91 | 942.142 | 211.289
946 | 1451.36 | 1168.93 | 910.63 | 204.238
947 | 1394.02 | 1122.52 | 874.786 | 196.211
948 | 1330.78 | 1071.44 | 835.206 | 187.344
949 | 1262.66 | 1016.49 | 792.532 | 177.78
950 | 1190.7 | 958.516 | 747.432 | 167.668
951 | 1115.98 | 898.369 | 700.578 | 157.162
952 | 1039.55 | 836.891 | 652.638 | 146.41
953 | 962.44 | 774.891 | 604.251 | 135.556
954 | 885.595 | 713.134 | 556.022 | 124.737
955 | 809.901 | 652.321 | 508.507 | 114.077
956 | 736.146 | 593.078 | 462.202 | 103.687
957 | 665.014 | 535.953 | 417.538 | 93.665
958 | 597.08 | 481.402 | 374.879 | 84.093
959 | 532.808 | 429.793 | 334.516 | 75.036
960 | 472.548 | 381.405 | 296.67 | 66.543
961 | 416.541 | 336.431 | 261.494 | 58.65
962 | 364.93 | 294.981 | 229.078 | 51.375
963 | 317.761 | 257.094 | 199.452 | 44.727
964 | 275.002 | 222.74 | 172.595 | 38.7
965 | 236.546 | 191.836 | 148.441 | 33.28
966 | 202.229 | 164.248 | 126.888 | 28.444
967 | 171.839 | 139.807 | 107.802 | 24.162
968 | 145.13 | 118.316 | 91.028 | 20.398
969 | 121.83 | 99.556 | 76.396 | 17.115
970 | 101.652 | 83.3 | 63.726 | 14.273
971 | 84.306 | 69.312 | 52.835 | 11.83
972 | 69.5 | 57.361 | 43.54 | 9.745
973 | 56.951 | 47.221 | 35.664 | 7.979
974 | 46.391 | 38.676 | 29.036 | 6.493
975 | 37.567 | 31.523 | 23.499 | 5.251
976 | 30.242 | 25.575 | 18.904 | 4.221
977 | 24.205 | 20.661 | 15.118 | 3.373
978 | 19.263 | 16.627 | 12.019 | 2.679
979 | 15.243 | 13.335 | 9.5 | 2.115
980 | 11.996 | 10.666 | 7.466 | 1.659
981 | 9.39 | 8.513 | 5.835 | 1.294
982 | 7.313 | 6.787 | 4.535 | 1.004
983 | 5.667 | 5.409 | 3.506 | 0.774
984 | 4.371 | 4.315 | 2.696 | 0.593
985 | 3.357 | 3.451 | 2.064 | 0.452
986 | 2.568 | 2.769 | 1.572 | 0.342
987 | 1.959 | 2.234 | 1.193 | 0.258
988 | 1.49 | 1.815 | 0.902 | 0.194
989 | 1.132 | 1.487 | 0.68 | 0.144
990 | 0.859 | 1.23 | 0.512 | 0.107
991 | 0.653 | 1.028 | 0.385 | 0.079
992 | 0.497 | 0.87 | 0.289 | 0.059
993 | 0.38 | 0.744 | 0.218 | 0.043
994 | 0.292 | 0.644 | 0.165 | 0.032
995 | 0.227 | 0.564 | 0.126 | 0.023
996 | 0.178 | 0.499 | 0.096 | 0.017
997 | 0.141 | 0.445 | 0.075 | 0.013
998 | 0.113 | 0.4 | 0.059 | 0.009
999 | 0.092 | 0.362 | 0.047 | 0.007
1000 | 0.076 | 0.33 | 0.038 | 0.005