## data
# Mitochondriak Lab - Mitochondriak Profi - spectral irradiance in mW/m2/nm - measured 29 Oct 2026 - protocol ML-2026-10-PROFI
# Spectrometers OHSP-350UVF (600-900 nm measured) and UPRtek CV600 (380-780 nm). Below 600 nm: 0 (no blue or green LEDs). 900-1000 nm: tail of the 850 nm LEDs plus the 940 nm LED band, determined from the spectrum and the TES 1333 solar meter. Citation with attribution permitted. www.mitochondriak.com
wavelength_nm | OHSP350UVF_30cm | OHSP350UVF_50cm | OHSP350UVF_70cm | UPRtekCV600_30cm | UPRtekCV600_50cm | UPRtekCV600_70cm
380 | 0 | 0 | 0 | 0 | 0 | 0
381 | 0 | 0 | 0 | 0 | 0 | 0
382 | 0 | 0 | 0 | 0 | 0 | 0
383 | 0 | 0 | 0 | 0 | 0 | 0
384 | 0 | 0 | 0 | 0 | 0 | 0
385 | 0 | 0 | 0 | 0 | 0 | 0
386 | 0 | 0 | 0 | 0 | 0 | 0
387 | 0 | 0 | 0 | 0 | 0 | 0
388 | 0 | 0 | 0 | 0 | 0 | 0
389 | 0 | 0 | 0 | 0 | 0 | 0
390 | 0 | 0 | 0 | 0 | 0 | 0
391 | 0 | 0 | 0 | 0 | 0 | 0
392 | 0 | 0 | 0 | 0 | 0 | 0
393 | 0 | 0 | 0 | 0 | 0 | 0
394 | 0 | 0 | 0 | 0 | 0 | 0
395 | 0 | 0 | 0 | 0 | 0 | 0
396 | 0 | 0 | 0 | 0 | 0 | 0
397 | 0 | 0 | 0 | 0 | 0 | 0
398 | 0 | 0 | 0 | 0 | 0 | 0
399 | 0 | 0 | 0 | 0 | 0 | 0
400 | 0 | 0 | 0 | 0 | 0 | 0
401 | 0 | 0 | 0 | 0 | 0 | 0
402 | 0 | 0 | 0 | 0 | 0 | 0
403 | 0 | 0 | 0 | 0 | 0 | 0
404 | 0 | 0 | 0 | 0 | 0 | 0
405 | 0 | 0 | 0 | 0 | 0 | 0
406 | 0 | 0 | 0 | 0 | 0 | 0
407 | 0 | 0 | 0 | 0 | 0 | 0
408 | 0 | 0 | 0 | 0 | 0 | 0
409 | 0 | 0 | 0 | 0 | 0 | 0
410 | 0 | 0 | 0 | 0 | 0 | 0
411 | 0 | 0 | 0 | 0 | 0 | 0
412 | 0 | 0 | 0 | 0 | 0 | 0
413 | 0 | 0 | 0 | 0 | 0 | 0
414 | 0 | 0 | 0 | 0 | 0 | 0
415 | 0 | 0 | 0 | 0 | 0 | 0
416 | 0 | 0 | 0 | 0 | 0 | 0
417 | 0 | 0 | 0 | 0 | 0 | 0
418 | 0 | 0 | 0 | 0 | 0 | 0
419 | 0 | 0 | 0 | 0 | 0 | 0
420 | 0 | 0 | 0 | 0 | 0 | 0
421 | 0 | 0 | 0 | 0 | 0 | 0
422 | 0 | 0 | 0 | 0 | 0 | 0
423 | 0 | 0 | 0 | 0 | 0 | 0
424 | 0 | 0 | 0 | 0 | 0 | 0
425 | 0 | 0 | 0 | 0 | 0 | 0
426 | 0 | 0 | 0 | 0 | 0 | 0
427 | 0 | 0 | 0 | 0 | 0 | 0
428 | 0 | 0 | 0 | 0 | 0 | 0
429 | 0 | 0 | 0 | 0 | 0 | 0
430 | 0 | 0 | 0 | 0 | 0 | 0
431 | 0 | 0 | 0 | 0 | 0 | 0
432 | 0 | 0 | 0 | 0 | 0 | 0
433 | 0 | 0 | 0 | 0 | 0 | 0
434 | 0 | 0 | 0 | 0 | 0 | 0
435 | 0 | 0 | 0 | 0 | 0 | 0
436 | 0 | 0 | 0 | 0 | 0 | 0
437 | 0 | 0 | 0 | 0 | 0 | 0
438 | 0 | 0 | 0 | 0 | 0 | 0
439 | 0 | 0 | 0 | 0 | 0 | 0
440 | 0 | 0 | 0 | 0 | 0 | 0
441 | 0 | 0 | 0 | 0 | 0 | 0
442 | 0 | 0 | 0 | 0 | 0 | 0
443 | 0 | 0 | 0 | 0 | 0 | 0
444 | 0 | 0 | 0 | 0 | 0 | 0
445 | 0 | 0 | 0 | 0 | 0 | 0
446 | 0 | 0 | 0 | 0 | 0 | 0
447 | 0 | 0 | 0 | 0 | 0 | 0
448 | 0 | 0 | 0 | 0 | 0 | 0
449 | 0 | 0 | 0 | 0 | 0 | 0
450 | 0 | 0 | 0 | 0 | 0 | 0
451 | 0 | 0 | 0 | 0 | 0 | 0
452 | 0 | 0 | 0 | 0 | 0 | 0
453 | 0 | 0 | 0 | 0 | 0 | 0
454 | 0 | 0 | 0 | 0 | 0 | 0
455 | 0 | 0 | 0 | 0 | 0 | 0
456 | 0 | 0 | 0 | 0 | 0 | 0
457 | 0 | 0 | 0 | 0 | 0 | 0
458 | 0 | 0 | 0 | 0 | 0 | 0
459 | 0 | 0 | 0 | 0 | 0 | 0
460 | 0 | 0 | 0 | 0 | 0 | 0
461 | 0 | 0 | 0 | 0 | 0 | 0
462 | 0 | 0 | 0 | 0 | 0 | 0
463 | 0 | 0 | 0 | 0 | 0 | 0
464 | 0 | 0 | 0 | 0 | 0 | 0
465 | 0 | 0 | 0 | 0 | 0 | 0
466 | 0 | 0 | 0 | 0 | 0 | 0
467 | 0 | 0 | 0 | 0 | 0 | 0
468 | 0 | 0 | 0 | 0 | 0 | 0
469 | 0 | 0 | 0 | 0 | 0 | 0
470 | 0 | 0 | 0 | 0 | 0 | 0
471 | 0 | 0 | 0 | 0 | 0 | 0
472 | 0 | 0 | 0 | 0 | 0 | 0
473 | 0 | 0 | 0 | 0 | 0 | 0
474 | 0 | 0 | 0 | 0 | 0 | 0
475 | 0 | 0 | 0 | 0 | 0 | 0
476 | 0 | 0 | 0 | 0 | 0 | 0
477 | 0 | 0 | 0 | 0 | 0 | 0
478 | 0 | 0 | 0 | 0 | 0 | 0
479 | 0 | 0 | 0 | 0 | 0 | 0
480 | 0 | 0 | 0 | 0 | 0 | 0
481 | 0 | 0 | 0 | 0 | 0 | 0
482 | 0 | 0 | 0 | 0 | 0 | 0
483 | 0 | 0 | 0 | 0 | 0 | 0
484 | 0 | 0 | 0 | 0 | 0 | 0
485 | 0 | 0 | 0 | 0 | 0 | 0
486 | 0 | 0 | 0 | 0 | 0 | 0
487 | 0 | 0 | 0 | 0 | 0 | 0
488 | 0 | 0 | 0 | 0 | 0 | 0
489 | 0 | 0 | 0 | 0 | 0 | 0
490 | 0 | 0 | 0 | 0 | 0 | 0
491 | 0 | 0 | 0 | 0 | 0 | 0
492 | 0 | 0 | 0 | 0 | 0 | 0
493 | 0 | 0 | 0 | 0 | 0 | 0
494 | 0 | 0 | 0 | 0 | 0 | 0
495 | 0 | 0 | 0 | 0 | 0 | 0
496 | 0 | 0 | 0 | 0 | 0 | 0
497 | 0 | 0 | 0 | 0 | 0 | 0
498 | 0 | 0 | 0 | 0 | 0 | 0
499 | 0 | 0 | 0 | 0 | 0 | 0
500 | 0 | 0 | 0 | 0 | 0 | 0
501 | 0 | 0 | 0 | 0 | 0 | 0
502 | 0 | 0 | 0 | 0 | 0 | 0
503 | 0 | 0 | 0 | 0 | 0 | 0
504 | 0 | 0 | 0 | 0 | 0 | 0
505 | 0 | 0 | 0 | 0 | 0 | 0
506 | 0 | 0 | 0 | 0 | 0 | 0
507 | 0 | 0 | 0 | 0 | 0 | 0
508 | 0 | 0 | 0 | 0 | 0 | 0
509 | 0 | 0 | 0 | 0 | 0 | 0
510 | 0 | 0 | 0 | 0 | 0 | 0
511 | 0 | 0 | 0 | 0 | 0 | 0
512 | 0 | 0 | 0 | 0 | 0 | 0
513 | 0 | 0 | 0 | 0 | 0 | 0
514 | 0 | 0 | 0 | 0 | 0 | 0
515 | 0 | 0 | 0 | 0 | 0 | 0
516 | 0 | 0 | 0 | 0 | 0 | 0
517 | 0 | 0 | 0 | 0 | 0 | 0
518 | 0 | 0 | 0 | 0 | 0 | 0
519 | 0 | 0 | 0 | 0 | 0 | 0
520 | 0 | 0 | 0 | 0 | 0 | 0
521 | 0 | 0 | 0 | 0 | 0 | 0
522 | 0 | 0 | 0 | 0 | 0 | 0
523 | 0 | 0 | 0 | 0 | 0 | 0
524 | 0 | 0 | 0 | 0 | 0 | 0
525 | 0 | 0 | 0 | 0 | 0 | 0
526 | 0 | 0 | 0 | 0 | 0 | 0
527 | 0 | 0 | 0 | 0 | 0 | 0
528 | 0 | 0 | 0 | 0 | 0 | 0
529 | 0 | 0 | 0 | 0 | 0 | 0
530 | 0 | 0 | 0 | 0 | 0 | 0
531 | 0 | 0 | 0 | 0 | 0 | 0
532 | 0 | 0 | 0 | 0 | 0 | 0
533 | 0 | 0 | 0 | 0 | 0 | 0
534 | 0 | 0 | 0 | 0 | 0 | 0
535 | 0 | 0 | 0 | 0 | 0 | 0
536 | 0 | 0 | 0 | 0 | 0 | 0
537 | 0 | 0 | 0 | 0 | 0 | 0
538 | 0 | 0 | 0 | 0 | 0 | 0
539 | 0 | 0 | 0 | 0 | 0 | 0
540 | 0 | 0 | 0 | 0 | 0 | 0
541 | 0 | 0 | 0 | 0 | 0 | 0
542 | 0 | 0 | 0 | 0 | 0 | 0
543 | 0 | 0 | 0 | 0 | 0 | 0
544 | 0 | 0 | 0 | 0 | 0 | 0
545 | 0 | 0 | 0 | 0 | 0 | 0
546 | 0 | 0 | 0 | 0 | 0 | 0
547 | 0 | 0 | 0 | 0 | 0 | 0
548 | 0 | 0 | 0 | 0 | 0 | 0
549 | 0 | 0 | 0 | 0 | 0 | 0
550 | 0 | 0 | 0 | 0 | 0 | 0
551 | 0 | 0 | 0 | 0 | 0 | 0
552 | 0 | 0 | 0 | 0 | 0 | 0
553 | 0 | 0 | 0 | 0 | 0 | 0
554 | 0 | 0 | 0 | 0 | 0 | 0
555 | 0 | 0 | 0 | 0 | 0 | 0
556 | 0 | 0 | 0 | 0 | 0 | 0
557 | 0 | 0 | 0 | 0 | 0 | 0
558 | 0 | 0 | 0 | 0 | 0 | 0
559 | 0 | 0 | 0 | 0 | 0 | 0
560 | 0 | 0 | 0 | 0 | 0 | 0
561 | 0 | 0 | 0 | 0 | 0 | 0
562 | 0 | 0 | 0 | 0 | 0 | 0
563 | 0 | 0 | 0 | 0 | 0 | 0
564 | 0 | 0 | 0 | 0 | 0 | 0
565 | 0 | 0 | 0 | 0 | 0 | 0
566 | 0 | 0 | 0 | 0 | 0 | 0
567 | 0 | 0 | 0 | 0 | 0 | 0
568 | 0 | 0 | 0 | 0 | 0 | 0
569 | 0 | 0 | 0 | 0 | 0 | 0
570 | 0 | 0 | 0 | 0 | 0 | 0
571 | 0 | 0 | 0 | 0 | 0 | 0
572 | 0 | 0 | 0 | 0 | 0 | 0
573 | 0 | 0 | 0 | 0 | 0 | 0
574 | 0 | 0 | 0 | 0 | 0 | 0
575 | 0 | 0 | 0 | 0 | 0 | 0
576 | 0 | 0 | 0 | 0 | 0 | 0
577 | 0 | 0 | 0 | 0 | 0 | 0
578 | 0 | 0 | 0 | 0 | 0 | 0
579 | 0 | 0 | 0 | 0 | 0 | 0
580 | 0 | 0 | 0 | 0 | 0 | 0
581 | 0 | 0 | 0 | 0 | 0 | 0
582 | 0 | 0 | 0 | 0 | 0 | 0
583 | 0 | 0 | 0 | 0 | 0 | 0
584 | 0 | 0 | 0 | 0 | 0 | 0
585 | 0 | 0 | 0 | 0 | 0 | 0
586 | 0 | 0 | 0 | 0 | 0 | 0
587 | 0 | 0 | 0 | 0 | 0 | 0
588 | 0 | 0 | 0 | 0 | 0 | 0
589 | 0 | 0 | 0 | 0 | 0 | 0
590 | 0 | 0 | 0 | 0 | 0 | 0
591 | 0 | 0 | 0 | 0 | 0 | 0
592 | 0 | 0 | 0 | 0 | 0 | 0
593 | 0 | 0 | 0 | 0 | 0 | 0
594 | 0 | 0 | 0 | 0 | 0 | 0
595 | 0 | 0 | 0 | 0 | 0 | 0
596 | 0 | 0 | 0 | 0 | 0 | 0
597 | 0 | 0 | 0 | 0 | 0 | 0
598 | 0 | 0 | 0 | 0 | 0 | 0
599 | 0 | 0 | 0 | 0 | 0 | 0
600 | 247.663 | 237.468 | 171.502 | 292.591 | 260.627 | 201.276
601 | 277.768 | 266.731 | 192.216 | 324.371 | 288.935 | 223.137
602 | 312.182 | 299.829 | 215.567 | 359.63 | 320.343 | 247.392
603 | 346.617 | 332.747 | 239.031 | 398.997 | 355.409 | 274.473
604 | 389.12 | 374.079 | 268.473 | 442.779 | 394.408 | 304.591
605 | 437.406 | 420.32 | 301.474 | 491.233 | 437.569 | 337.923
606 | 485.96 | 466.959 | 334.533 | 543.29 | 483.939 | 373.733
607 | 547.56 | 525.569 | 375.985 | 602.751 | 536.904 | 414.637
608 | 616.735 | 591.326 | 422.461 | 667.638 | 594.702 | 459.273
609 | 685.325 | 657.132 | 469.219 | 744.805 | 663.439 | 512.357
610 | 771.384 | 739.605 | 527.804 | 829.804 | 739.153 | 570.829
611 | 868.526 | 832.44 | 593.013 | 926.339 | 825.142 | 637.236
612 | 977.171 | 935.337 | 665.653 | 1027.69 | 915.42 | 706.955
613 | 1097.04 | 1048.89 | 745.82 | 1139.59 | 1015.1 | 783.932
614 | 1214.97 | 1161.12 | 826.309 | 1261.49 | 1123.68 | 867.789
615 | 1360.17 | 1300.18 | 925.754 | 1397.25 | 1244.61 | 961.179
616 | 1521.37 | 1454.59 | 1036.28 | 1545.52 | 1376.68 | 1063.18
617 | 1681.48 | 1607.1 | 1145.12 | 1705.21 | 1518.92 | 1173.02
618 | 1880.02 | 1796.1 | 1279.43 | 1875.17 | 1670.32 | 1289.94
619 | 2098.28 | 2003.52 | 1426.74 | 2052.61 | 1828.37 | 1412
620 | 2311.26 | 2205.26 | 1570.96 | 2241.64 | 1996.75 | 1542.04
621 | 2566.85 | 2447.35 | 1745.66 | 2438.41 | 2172.03 | 1677.4
622 | 2841.18 | 2706.22 | 1933.34 | 2638.82 | 2350.55 | 1815.27
623 | 3102.85 | 2955.78 | 2113.94 | 2836.68 | 2526.79 | 1951.38
624 | 3414.79 | 3253.17 | 2329.31 | 3027.16 | 2696.46 | 2082.41
625 | 3745.03 | 3567.84 | 2557.9 | 3212.41 | 2861.47 | 2209.84
626 | 4048.48 | 3856.77 | 2770.84 | 3374.58 | 3005.92 | 2321.4
627 | 4383.15 | 4177.01 | 3010.38 | 3515.71 | 3131.64 | 2418.49
628 | 4697.42 | 4478.55 | 3242.17 | 3608.82 | 3214.57 | 2482.53
629 | 4934.48 | 4707.37 | 3428.74 | 3662.37 | 3262.28 | 2519.37
630 | 5117.52 | 4883.93 | 3584.77 | 3656.64 | 3257.17 | 2515.43
631 | 5204.65 | 4970.36 | 3679.59 | 3605.84 | 3211.92 | 2480.48
632 | 5177.19 | 4947.64 | 3695.42 | 3505.62 | 3122.65 | 2411.54
633 | 5038.58 | 4815.77 | 3631.19 | 3366.98 | 2999.15 | 2316.17
634 | 4798.18 | 4581.69 | 3491.34 | 3199.07 | 2849.59 | 2200.66
635 | 4525.28 | 4311.11 | 3310 | 3010.91 | 2681.98 | 2071.23
636 | 4183.57 | 3968.66 | 3067.33 | 2816.67 | 2508.96 | 1937.61
637 | 3840.96 | 3622.12 | 2813.85 | 2624.39 | 2337.69 | 1805.34
638 | 3556.52 | 3331.11 | 2596.05 | 2444.7 | 2177.63 | 1681.73
639 | 3267.32 | 3032.3 | 2367.99 | 2290.57 | 2040.33 | 1575.7
640 | 3015.05 | 2767.64 | 2164.26 | 2163.43 | 1927.08 | 1488.24
641 | 2822.74 | 2562.82 | 2005.7 | 2079.6 | 1852.41 | 1430.57
642 | 2638.06 | 2363.35 | 1851.7 | 2026.83 | 1805.41 | 1394.27
643 | 2483.83 | 2192.62 | 1721.88 | 2018.87 | 1798.32 | 1388.8
644 | 2373.91 | 2066.65 | 1627.07 | 2035.1 | 1812.77 | 1399.96
645 | 2278.97 | 1950.24 | 1540.15 | 2092.27 | 1863.7 | 1439.29
646 | 2213.03 | 1859.67 | 1472.09 | 2171.24 | 1934.04 | 1493.61
647 | 2181.57 | 1802.15 | 1428.12 | 2285.76 | 2036.05 | 1572.39
648 | 2170.4 | 1761.38 | 1398.18 | 2415.98 | 2152.04 | 1661.97
649 | 2185.28 | 1742.62 | 1385.97 | 2578.76 | 2297.05 | 1773.95
650 | 2223.65 | 1745.68 | 1391.25 | 2759.24 | 2457.81 | 1898.11
651 | 2294.34 | 1772.29 | 1414.72 | 2969.76 | 2645.33 | 2042.92
652 | 2393.62 | 1820.89 | 1455.12 | 3194.08 | 2845.14 | 2197.23
653 | 2506.47 | 1886.28 | 1508.46 | 3450.74 | 3073.77 | 2373.79
654 | 2655.72 | 1978.22 | 1583.18 | 3729.72 | 3322.27 | 2565.7
655 | 2828.74 | 2087.77 | 1672.16 | 4037.32 | 3596.26 | 2777.3
656 | 3003.53 | 2200.49 | 1763.78 | 4355.63 | 3879.8 | 2996.27
657 | 3219.48 | 2342.89 | 1879.21 | 4694.31 | 4181.48 | 3229.25
658 | 3456.87 | 2501.8 | 2008.11 | 5048.41 | 4496.9 | 3472.84
659 | 3684.97 | 2657.27 | 2133.77 | 5355.71 | 4770.62 | 3684.23
660 | 3930.72 | 2826.27 | 2270.54 | 5590.95 | 4980.17 | 3846.06
661 | 4228.75 | 3030.72 | 2436.04 | 5717.31 | 5092.72 | 3932.98
662 | 4547.79 | 3250.26 | 2613.77 | 5787.71 | 5155.43 | 3981.41
663 | 4856.43 | 3464.52 | 2786.37 | 5821.73 | 5185.74 | 4004.81
664 | 5219.56 | 3718.25 | 2990.82 | 5855.43 | 5215.75 | 4027.99
665 | 5598.99 | 3988.01 | 3206.86 | 5894.77 | 5250.8 | 4055.05
666 | 5948.58 | 4238.38 | 3405.94 | 5932.98 | 5284.84 | 4081.34
667 | 6333.72 | 4514.74 | 3625.43 | 5959.12 | 5308.12 | 4099.32
668 | 6693.46 | 4776.82 | 3832.81 | 5973.17 | 5320.63 | 4108.99
669 | 6961.57 | 4977.4 | 3988.2 | 5979.63 | 5326.39 | 4113.43
670 | 7169.34 | 5139.19 | 4109.95 | 5988.76 | 5334.52 | 4119.72
671 | 7275.63 | 5230.42 | 4175.25 | 6007.71 | 5351.4 | 4132.75
672 | 7256.66 | 5229.93 | 4167.94 | 6033.35 | 5374.24 | 4150.39
673 | 7100.75 | 5131.39 | 4084.6 | 6046.89 | 5386.3 | 4159.7
674 | 6812.84 | 4938.79 | 3925.35 | 6040.81 | 5380.88 | 4155.52
675 | 6467.93 | 4699.55 | 3730.89 | 5865.34 | 5224.59 | 4034.81
676 | 6061.06 | 4412.96 | 3502.06 | 5523.86 | 4920.41 | 3799.91
677 | 5568.93 | 4063.23 | 3223.23 | 4991.06 | 4445.82 | 3433.39
678 | 5063.5 | 3702 | 2936.96 | 4414.37 | 3932.12 | 3036.68
679 | 4630 | 3389.38 | 2689.3 | 3840.31 | 3420.78 | 2641.78
680 | 4165.6 | 3052.44 | 2423.16 | 3298.64 | 2938.28 | 2269.16
681 | 3728.54 | 2734.51 | 2172.05 | 2825.66 | 2516.97 | 1943.79
682 | 3370.05 | 2474.93 | 1965.32 | 2393.31 | 2131.86 | 1646.38
683 | 2997.82 | 2205.85 | 1750.66 | 2031.21 | 1809.31 | 1397.29
684 | 2656.51 | 1958.41 | 1553.43 | 1709.34 | 1522.6 | 1175.87
685 | 2381.21 | 1758.54 | 1395.52 | 1446.67 | 1288.63 | 995.177
686 | 2099.14 | 1551.29 | 1232.59 | 1216.62 | 1083.71 | 836.922
687 | 1844.24 | 1362.66 | 1085 | 1029.46 | 916.997 | 708.173
688 | 1640.1 | 1209.96 | 966.644 | 867.413 | 772.653 | 596.7
689 | 1455.76 | 1072.63 | 858.703 | 736.04 | 655.632 | 506.327
690 | 1270.91 | 936.094 | 750.706 | 624.366 | 556.157 | 429.506
691 | 1108.08 | 815.455 | 654.944 | 533.283 | 475.025 | 366.849
692 | 981.362 | 721.497 | 580.143 | 456.101 | 406.275 | 313.756
693 | 855.791 | 628.823 | 506.788 | 392.481 | 349.605 | 269.991
694 | 746.86 | 548.615 | 442.941 | 339.775 | 302.656 | 233.734
695 | 662.363 | 487.749 | 394.672 | 296.376 | 263.998 | 203.879
696 | 580.98 | 429.254 | 348.376 | 261.325 | 232.777 | 179.768
697 | 511.652 | 379.735 | 308.868 | 232.517 | 207.116 | 159.95
698 | 459.459 | 342.974 | 279.225 | 209.472 | 186.588 | 144.097
699 | 414.683 | 311.751 | 253.776 | 189.748 | 169.019 | 130.529
700 | 371.939 | 282.217 | 229.313 | 173.841 | 154.85 | 119.587
701 | 334.542 | 257.345 | 208.414 | 160.191 | 142.691 | 110.197
702 | 307.06 | 238.699 | 192.457 | 149.176 | 132.879 | 102.619
703 | 281.302 | 220.972 | 177.814 | 139.411 | 124.181 | 95.902
704 | 259.637 | 205.509 | 165.682 | 132.077 | 117.649 | 90.857
705 | 243.343 | 194.279 | 157.066 | 126.493 | 112.675 | 87.016
706 | 227.3 | 183.992 | 149.092 | 122.542 | 109.155 | 84.297
707 | 213.293 | 175.112 | 143.044 | 119.615 | 106.547 | 82.284
708 | 204.031 | 168.974 | 139.013 | 118.479 | 105.536 | 81.502
709 | 196.654 | 163.656 | 135.924 | 119.102 | 106.091 | 81.931
710 | 190.353 | 159.158 | 132.715 | 120.839 | 107.638 | 83.126
711 | 185.178 | 156.058 | 129.961 | 123.469 | 109.98 | 84.935
712 | 181.392 | 154.267 | 128.386 | 127.022 | 113.146 | 87.38
713 | 177.904 | 153.543 | 127.678 | 131.49 | 117.125 | 90.453
714 | 175.765 | 153.916 | 128.192 | 136.375 | 121.477 | 93.814
715 | 174.978 | 154.682 | 129.256 | 142.678 | 127.091 | 98.149
716 | 175.137 | 155.971 | 131.098 | 150.333 | 133.91 | 103.415
717 | 176.025 | 157.882 | 133.819 | 159.262 | 141.863 | 109.557
718 | 177.604 | 160.931 | 137.116 | 168.867 | 150.419 | 116.165
719 | 179.822 | 164.703 | 141.003 | 179.825 | 160.18 | 123.703
720 | 183.574 | 169.674 | 145.892 | 192.156 | 171.164 | 132.185
721 | 188.13 | 175.321 | 151.874 | 205.313 | 182.884 | 141.237
722 | 192.995 | 180.724 | 157.73 | 219.538 | 195.555 | 151.022
723 | 198.815 | 187.839 | 164.168 | 234.973 | 209.304 | 161.64
724 | 206.14 | 197.218 | 172.063 | 252.665 | 225.063 | 173.81
725 | 214.868 | 208.274 | 180.885 | 271.815 | 242.121 | 186.983
726 | 223.739 | 219.27 | 190.258 | 292.623 | 260.656 | 201.298
727 | 234.596 | 231.72 | 201.686 | 314.817 | 280.425 | 216.565
728 | 246.99 | 246.385 | 215.029 | 339.202 | 302.146 | 233.34
729 | 259.398 | 259.998 | 227.84 | 366.27 | 326.257 | 251.96
730 | 273.535 | 274.696 | 241.922 | 395.626 | 352.406 | 272.154
731 | 290.95 | 292.082 | 259.684 | 427.512 | 380.809 | 294.089
732 | 309.587 | 310.498 | 278.834 | 461.266 | 410.875 | 317.308
733 | 328.289 | 330 | 297.647 | 497.283 | 442.957 | 342.085
734 | 350.932 | 354.283 | 321.394 | 535.459 | 476.963 | 368.346
735 | 376.434 | 382.202 | 346.916 | 577.282 | 514.217 | 397.116
736 | 401.95 | 408.966 | 372.547 | 622.886 | 554.839 | 428.488
737 | 428.611 | 437.592 | 399.794 | 671.746 | 598.361 | 462.099
738 | 461.325 | 473.228 | 433.117 | 726.039 | 646.723 | 499.447
739 | 497.98 | 512.616 | 470.529 | 785.255 | 699.47 | 540.183
740 | 533.86 | 551.78 | 506.903 | 848.356 | 755.678 | 583.59
741 | 579.328 | 599.839 | 552.079 | 913.306 | 813.533 | 628.27
742 | 628.24 | 651.8 | 601.181 | 982.415 | 875.091 | 675.81
743 | 675.816 | 702.122 | 648.159 | 1056.89 | 941.434 | 727.045
744 | 727.416 | 757.867 | 698.725 | 1135.2 | 1011.19 | 780.916
745 | 790.037 | 824.544 | 759.15 | 1218.98 | 1085.81 | 838.546
746 | 856.404 | 897.011 | 824.333 | 1308.11 | 1165.2 | 899.856
747 | 920.026 | 964.699 | 887.302 | 1403.56 | 1250.23 | 965.518
748 | 987.584 | 1036.96 | 952.691 | 1500.98 | 1337.01 | 1032.54
749 | 1067.96 | 1124.19 | 1029.22 | 1599.77 | 1425.01 | 1100.49
750 | 1153.82 | 1215.06 | 1109 | 1701.45 | 1515.58 | 1170.44
751 | 1232.4 | 1298.35 | 1182.31 | 1806.53 | 1609.18 | 1242.73
752 | 1325.22 | 1395.7 | 1270.14 | 1914.72 | 1705.55 | 1317.15
753 | 1419.48 | 1496.05 | 1360.13 | 2024.55 | 1803.38 | 1392.7
754 | 1507.09 | 1590.04 | 1443 | 2137.16 | 1903.69 | 1470.17
755 | 1598.28 | 1685.64 | 1527.81 | 2251.03 | 2005.11 | 1548.5
756 | 1705.2 | 1798.01 | 1626.77 | 2364.12 | 2105.86 | 1626.3
757 | 1814.38 | 1912.01 | 1727.42 | 2473.73 | 2203.49 | 1701.7
758 | 1914.49 | 2017.63 | 1821.52 | 2578.93 | 2297.2 | 1774.07
759 | 2014.78 | 2125.09 | 1914.58 | 2676.48 | 2384.09 | 1841.17
760 | 2127.37 | 2242.24 | 2020 | 2761.9 | 2460.18 | 1899.93
761 | 2237.75 | 2357.37 | 2122.13 | 2834.6 | 2524.93 | 1949.94
762 | 2329.32 | 2453.55 | 2205.49 | 2883.26 | 2568.28 | 1983.42
763 | 2411.85 | 2540.56 | 2279.21 | 2907.97 | 2590.29 | 2000.41
764 | 2488.05 | 2622.66 | 2343.41 | 2904.97 | 2587.62 | 1998.35
765 | 2545.89 | 2683.81 | 2390.25 | 2872.44 | 2558.64 | 1975.97
766 | 2579.12 | 2717.78 | 2412.97 | 2809.17 | 2502.28 | 1932.45
767 | 2600.52 | 2738.63 | 2423.84 | 2710.43 | 2414.33 | 1864.53
768 | 2599.77 | 2735.85 | 2413.78 | 2588.85 | 2306.03 | 1780.89
769 | 2573.43 | 2708.55 | 2383 | 2446.88 | 2179.57 | 1683.23
770 | 2519.54 | 2654.81 | 2328.91 | 2290.52 | 2040.29 | 1575.66
771 | 2422.96 | 2557.61 | 2236.9 | 2124.08 | 1892.03 | 1461.17
772 | 2303.28 | 2434.22 | 2126.95 | 1953.37 | 1739.97 | 1343.73
773 | 2184.61 | 2310.39 | 2017.65 | 1788.34 | 1592.97 | 1230.21
774 | 2060.58 | 2180.75 | 1906.93 | 1631.73 | 1453.47 | 1122.48
775 | 1920.24 | 2035.99 | 1782.62 | 1490.02 | 1327.24 | 1024.99
776 | 1783.84 | 1895.43 | 1661.31 | 1364.01 | 1215 | 938.313
777 | 1670.58 | 1778.09 | 1561.02 | 1287.08 | 1146.47 | 885.392
778 | 1565.19 | 1667.73 | 1466.04 | 1251.11 | 1114.43 | 860.649
779 | 1455.44 | 1554.49 | 1369.28 | 1251.11 | 1114.43 | 860.649
780 | 1356.64 | 1453.12 | 1281.91 | 1251.11 | 1114.43 | 860.649
781 | 1275.64 | 1370.09 | 1210.08
782 | 1204.54 | 1298.16 | 1147.14
783 | 1135.4 | 1229.62 | 1087.32
784 | 1078.11 | 1173.66 | 1038.62
785 | 1037.89 | 1134.56 | 1005
786 | 1004.41 | 1102.78 | 978.059
787 | 978.248 | 1077.42 | 957.19
788 | 960.83 | 1063.51 | 945.239
789 | 954.907 | 1060.39 | 943.129
790 | 955.102 | 1062.51 | 945.809
791 | 960.917 | 1070.45 | 954.941
792 | 972.091 | 1082.63 | 968.563
793 | 987.288 | 1102.02 | 985.799
794 | 1007.72 | 1126.94 | 1007.38
795 | 1038.51 | 1164.83 | 1039.06
796 | 1076.83 | 1208.24 | 1077.3
797 | 1112.73 | 1251.21 | 1113.85
798 | 1153.16 | 1296.47 | 1154.19
799 | 1198.05 | 1347.32 | 1199.95
800 | 1245.5 | 1400.42 | 1246.39
801 | 1290.64 | 1450.07 | 1291.38
802 | 1337.41 | 1502.9 | 1336.67
803 | 1393.49 | 1565.87 | 1392.45
804 | 1457.15 | 1638.54 | 1454.67
805 | 1514.34 | 1704.2 | 1511.57
806 | 1575.6 | 1772.22 | 1571.92
807 | 1649.15 | 1849.19 | 1643.45
808 | 1727.91 | 1928.44 | 1716.18
809 | 1803.84 | 2006.09 | 1786.8
810 | 1880.38 | 2088.19 | 1858.75
811 | 1957.93 | 2177.32 | 1932.55
812 | 2031.61 | 2260.63 | 2002.71
813 | 2093.43 | 2327.64 | 2057.84
814 | 2148.67 | 2384.06 | 2105.66
815 | 2202.93 | 2434.87 | 2150.2
816 | 2244.25 | 2473.74 | 2182.5
817 | 2274.95 | 2500.45 | 2202.72
818 | 2297.26 | 2518.73 | 2211.59
819 | 2313.23 | 2524.2 | 2208.46
820 | 2316.86 | 2514.42 | 2193.12
821 | 2313 | 2492.74 | 2172.27
822 | 2311.58 | 2468.43 | 2152.2
823 | 2311.88 | 2444.21 | 2130.48
824 | 2315.6 | 2419.3 | 2106.49
825 | 2323.27 | 2406.06 | 2085.64
826 | 2330.42 | 2398.9 | 2070.5
827 | 2341.94 | 2393.87 | 2057.66
828 | 2361.65 | 2393.31 | 2049.51
829 | 2383.87 | 2392.82 | 2043.27
830 | 2404.4 | 2395.43 | 2038.16
831 | 2422.83 | 2403.02 | 2034.71
832 | 2442.92 | 2409.6 | 2028.12
833 | 2456.77 | 2413.33 | 2019.08
834 | 2458.55 | 2408.48 | 1999.9
835 | 2450.03 | 2398.81 | 1972.76
836 | 2428.28 | 2388.66 | 1940.84
837 | 2395.19 | 2371 | 1902.97
838 | 2350.53 | 2345.52 | 1863.27
839 | 2296.47 | 2310.97 | 1817.78
840 | 2235.84 | 2272.14 | 1768.42
841 | 2159.4 | 2227.48 | 1708.48
842 | 2082.22 | 2183.99 | 1652.96
843 | 2017.52 | 2145.17 | 1605.05
844 | 1954.49 | 2105.65 | 1561.64
845 | 1887.41 | 2065.74 | 1514.19
846 | 1825.81 | 2029.59 | 1471.72
847 | 1776.1 | 2006.86 | 1439.83
848 | 1736.17 | 1990.05 | 1412.42
849 | 1701.45 | 1980.54 | 1392.01
850 | 1670.54 | 1976.94 | 1372.85
851 | 1643.29 | 1975.82 | 1356.93
852 | 1622.2 | 1978.85 | 1346.92
853 | 1603.6 | 1981.77 | 1340.39
854 | 1587.25 | 1986.78 | 1338.8
855 | 1577.01 | 1996.13 | 1335.03
856 | 1571.18 | 2007.31 | 1334.69
857 | 1561.37 | 2015.01 | 1330.88
858 | 1548.63 | 2020.9 | 1327.75
859 | 1531.89 | 2011.32 | 1320.05
860 | 1513.72 | 1997.01 | 1306.5
861 | 1492.98 | 1972.6 | 1290.85
862 | 1464.92 | 1941.07 | 1271.14
863 | 1424.72 | 1885.06 | 1238.58
864 | 1376.29 | 1815.73 | 1195.94
865 | 1333.44 | 1739.69 | 1150.54
866 | 1284.4 | 1665.5 | 1101.77
867 | 1236.37 | 1593.73 | 1056.24
868 | 1180.44 | 1515.91 | 1005.19
869 | 1119.53 | 1440.46 | 954.834
870 | 1065.45 | 1367.1 | 909.619
871 | 1007.03 | 1290.16 | 859.778
872 | 955.077 | 1218.33 | 811.258
873 | 902.469 | 1137.6 | 759.113
874 | 853.738 | 1061.88 | 711.371
875 | 814.286 | 996.425 | 673.38
876 | 775.696 | 932.583 | 636.474
877 | 739.782 | 881.165 | 599.945
878 | 709.975 | 832.074 | 565.94
879 | 681.886 | 792.564 | 538.419
880 | 657.671 | 749.081 | 513.15
881 | 630.496 | 703.686 | 489.804
882 | 606.012 | 665.518 | 465.858
883 | 587.624 | 634.976 | 447.686
884 | 571.381 | 615.342 | 430.99
885 | 556.899 | 591.525 | 416.306
886 | 542.926 | 566.773 | 402.102
887 | 529.692 | 546.129 | 388.455
888 | 520.374 | 531.907 | 377.563
889 | 515.305 | 527.204 | 371.242
890 | 511.292 | 520.551 | 364.787
891 | 506.975 | 511.862 | 358.694
892 | 502.647 | 505.388 | 354.58
893 | 498.377 | 497.662 | 349.606
894 | 496.694 | 491.142 | 348.134
895 | 500.102 | 485.841 | 348.353
896 | 506.086 | 479.495 | 349.562
897 | 514.627 | 478.553 | 352.795
898 | 522.793 | 481.314 | 354.906
899 | 526.587 | 483.885 | 356.164
900 | 528.785 | 486.162 | 356.529
901 | 543.057 | 496.525 | 367.217
902 | 530.806 | 482.427 | 358.193
903 | 521.865 | 471.696 | 351.711
904 | 516.625 | 464.676 | 348.054
905 | 515.529 | 461.761 | 347.546
906 | 519.077 | 463.401 | 350.555
907 | 527.821 | 470.095 | 357.488
908 | 542.365 | 482.389 | 368.789
909 | 563.353 | 500.873 | 384.935
910 | 591.466 | 526.167 | 406.43
911 | 627.405 | 558.913 | 433.791
912 | 671.874 | 599.757 | 467.543
913 | 725.568 | 649.336 | 508.197
914 | 789.142 | 708.251 | 556.241
915 | 863.192 | 777.05 | 612.117
916 | 948.224 | 856.196 | 676.2
917 | 1044.63 | 946.045 | 748.778
918 | 1152.64 | 1046.81 | 830.027
919 | 1272.34 | 1158.55 | 919.991
920 | 1403.55 | 1281.11 | 1018.56
921 | 1545.92 | 1414.14 | 1125.45
922 | 1698.79 | 1557.03 | 1240.18
923 | 1861.27 | 1708.93 | 1362.07
924 | 2032.15 | 1868.73 | 1490.24
925 | 2209.97 | 2035.04 | 1623.57
926 | 2392.97 | 2206.21 | 1760.77
927 | 2579.14 | 2380.37 | 1900.32
928 | 2766.22 | 2555.42 | 2040.55
929 | 2951.78 | 2729.06 | 2179.63
930 | 3133.21 | 2898.87 | 2315.63
931 | 3307.83 | 3062.35 | 2446.53
932 | 3472.92 | 3216.93 | 2570.31
933 | 3625.77 | 3360.1 | 2684.96
934 | 3763.79 | 3489.45 | 2788.53
935 | 3884.57 | 3602.7 | 2879.22
936 | 3985.91 | 3697.82 | 2955.4
937 | 4065.94 | 3773.04 | 3015.67
938 | 4123.12 | 3826.94 | 3058.87
939 | 4156.32 | 3858.46 | 3084.18
940 | 4164.86 | 3866.94 | 3091.06
941 | 4148.48 | 3852.17 | 3079.35
942 | 4107.42 | 3814.36 | 3049.21
943 | 4042.34 | 3754.13 | 3001.14
944 | 3954.38 | 3672.52 | 2935.97
945 | 3845.03 | 3570.94 | 2854.84
946 | 3716.16 | 3451.15 | 2759.14
947 | 3569.95 | 3315.16 | 2650.49
948 | 3408.8 | 3165.21 | 2530.68
949 | 3235.29 | 3003.72 | 2401.63
950 | 3052.1 | 2833.17 | 2265.34
951 | 2861.92 | 2656.11 | 2123.84
952 | 2667.44 | 2475.02 | 1979.11
953 | 2471.23 | 2292.3 | 1833.08
954 | 2275.72 | 2110.23 | 1687.56
955 | 2083.13 | 1930.88 | 1544.22
956 | 1895.47 | 1756.12 | 1404.53
957 | 1714.46 | 1587.55 | 1269.8
958 | 1541.56 | 1426.55 | 1141.12
959 | 1377.94 | 1274.21 | 1019.35
960 | 1224.48 | 1131.34 | 905.151
961 | 1081.81 | 998.534 | 798.992
962 | 950.281 | 876.114 | 701.135
963 | 830.009 | 764.196 | 611.67
964 | 720.911 | 662.7 | 530.535
965 | 622.721 | 571.377 | 457.53
966 | 535.023 | 489.84 | 392.345
967 | 457.282 | 417.588 | 334.582
968 | 388.874 | 354.041 | 283.774
969 | 329.113 | 298.555 | 239.411
970 | 277.273 | 250.457 | 200.951
971 | 232.618 | 209.056 | 167.844
972 | 194.411 | 173.668 | 139.542
973 | 161.94 | 143.625 | 115.513
974 | 134.521 | 118.29 | 95.247
975 | 111.514 | 97.066 | 78.266
976 | 92.326 | 79.399 | 64.129
977 | 76.416 | 64.785 | 52.431
978 | 63.296 | 52.768 | 42.81
979 | 52.534 | 42.945 | 34.942
980 | 43.747 | 34.959 | 28.542
981 | 36.603 | 28.5 | 23.362
982 | 30.816 | 23.3 | 19.19
983 | 26.14 | 19.131 | 15.842
984 | 22.37 | 15.802 | 13.165
985 | 19.332 | 13.149 | 11.029
986 | 16.882 | 11.04 | 9.328
987 | 14.903 | 9.365 | 7.974
988 | 13.298 | 8.032 | 6.894
989 | 11.988 | 6.97 | 6.03
990 | 10.912 | 6.12 | 5.336
991 | 10.018 | 5.436 | 4.775
992 | 9.268 | 4.88 | 4.318
993 | 8.63 | 4.425 | 3.94
994 | 8.081 | 4.047 | 3.625
995 | 7.6 | 3.729 | 3.358
996 | 7.175 | 3.457 | 3.128
997 | 6.793 | 3.222 | 2.928
998 | 6.446 | 3.016 | 2.751
999 | 6.128 | 2.832 | 2.592
1000 | 5.834 | 2.666 | 2.449